GROUP: 
NAME
: [image: image8.jpg]




Sources
1. Source size measurement

Show for each source an image in the 4f configuration (3 images similar to Fig. 20). Give the approximate dimension in pixel on the detector and in mm in the object space (image space/magnification=1). Make an error estimation. Find the datasheet value and comment. 
[image: image8.jpg][image: image9.jpg]



[image: image10.jpg]



	Source
	Measured size (4f) pixel
	Measured size (4f) mm
	Error
	Datasheet value

	Halogen
	
	
	
	

	LASER
	
	
	
	

	LED
	
	
	
	



[image: image1]
2. Light distribution for different image sizes with LED

[image: image11.jpg]


[image: image12.jpg]


Show an image for each of the two different measurement conditions: with double lens and single lens under identical exposure and gain (avoid saturation) (two images). Evaluate the integral intensity in the image for both cases and give the ratio. Calculate the theoretical difference between the optical signals and compare with your measurement. 
Double lens configuration

	Distance camera first lens (red)
	25 mm

	Distance lens - lens
	…..

	Distance second lens (blue) source
	…..

	Distance source camera
	….


4 f configuration (single lens)

	Distance camera first lens (red)
	…..

	Distance lens - source
	…..


	
	Single lens
	Double lens

	Integral intensity
	
	


Intensity ratio measured: 

The theoretical intensity ratio is based on the brightness theorem. If the image area is identical (what we assume) only the different solid angles contribute. The theoretical difference is therefore the ratio of solid angles for the infinity (double lens) and 4f (single lens) configuration.  

Theoretical value: 

[image: image2]
3. Spectral matching

[image: image13.png]


Present an image for each of the two different measurement conditions of the halogen lamp (without and with IR filter) (two images). Show the exposure data! Discuss the influence of polarizer, IR filter and source spectra on the result by making ONE GRAPH (can be hand drawn) that shows transmission of all components against wavelength!

Exposure data (prints screen or value) 

Without IR filter 


With IR filter



[image: image3.png]©® Logitech® Webcam Sofiware
tLight™ Se

These settings only affect your webcam in
Tow light emvronments.

O Use Automatic RightLight™ Settings.

Do not use automatic RightLight
settings

[ use Automatic Settings

Exposure.

Retum to Default Settings







[image: image4.png]© Logitech® Webcam Sofiware

itLight™ Set

These settings only affect your webcam in
Tow light emvronments.

O Use Automatic RightLight™ Settings.

Do not use automatic RightLight
settings

[ use Automatic Settings

Exposure

Retum to Default Settings





Graph of spectral behavior of different components
[image: image5.png]L\

[\

Polarizer
IR filter
Source

wavelength





[image: image6] 

4. Web examples

Find an example of a source with particular optical properties and its datasheet. Find in the datasheet its main parameters (working principle, spectral bandwidth, emission area, temporal behavior and, if possible, solid angle of emission and brightness). Make sure to correctly cite your reference. What is special about your source? Add a photo of the source!

EXAMPLE: 
Osram 
Spectroscopic lamps
Spectra: white light with peaks
1A PICO VS1

Hg 100 - 22.0W
Filament size 8 mm – 3 mm

Solid angel 4 

[image: image7]
Picture 2 - LED





Picture 3 - Laser





Picture 1 – Halogen 





�





Comments:











Picture 1 – double lens  - infinity configuration 





�





Picture 2 – single lens – 4 f configuration





�





Comments:











Picture 2 – with IR filter  











Picture 1 – without IR filter  





�





Comments:











(Optional) Personal feedback: 





Was the amount of work adequate? 














What is difficult to understand? 














What did you like about it? 














How can we do better? 



































3

