GROUP: 
NAME: 
[image: image6.jpg]




Multimode fibre
1. Evaluation of the numerical aperture with skewed rays
Show images obtained at different skew ray configurations (2 images). Measure the acceptance angle of the fibre and compute its numerical aperture. Provide an error estimation of the measurement. Compare the measured value with the datasheet of the fibre.
[image: image6.jpg][image: image7.jpg]



Acceptance angle by direct measurement (deg): 

Error evaluation (explain how you evaluate the error): 

Datasheet value for the acceptance angle =arcsin (NA): 


[image: image1]
2. Measurement of the numerical aperture
[image: image8.jpg]


[image: image9.jpg][ 33/9/2016 1:26 PM



Show sample images of the light spots on the camera (2 images). Provide a table with the spot diameter as a function of distance (min. 5 points). Calculate the NA of the fibre. Provide an error estimation. Compare the value with the one obtained with skewed rays and with the datasheet of the fibre.
	Measurement number 
	1
	2
	3
	4
	5
	6
	7

	Distance in mm
	
	
	
	
	
	
	

	Spot diameter in pixel
	
	
	
	
	
	
	

	Spot diameter in mm
	
	
	
	
	
	
	

	Angle (deg)
	
	
	
	
	
	

	NA
	
	
	
	
	
	


Average numerical aperture of the fibre 
NA= 

Error estimation 



NA =sin(= cos(

NA =


[image: image2]
3. Injection for different sources
Show sample images of the light spots on the camera for each source (3 Images). 
[image: image10.jpg][ §3/9/2016 1:26 PM



[image: image11.jpg]


[image: image12.jpg]




[image: image3]
4. Measurement of relative injection efficiency
Show the two images. Measure the distance between the lens cap and the entrance of the fibre for both situations and calculate the NA. Compare the total intensity for the two injection conditions by integrating the intensities with Matlab. Give the integral intensities for all images. Give the ratio for the background corrected and non-corrected value. Calculate P1/P2. (No error calculations needed)
[image: image13.jpg]


[image: image14.jpg][ 33/9/2016 1:12 PM




	Position
	1
	2

	Distance lens cap to fibre entrance
	
	

	Numerical aperture, NA
	
	

	Total intensity no background correction
	
	

	Total intensity with background correction
	
	


Ratio of injected power 

P1/P2 = 
Ratio of NA



NA12/NA22 =

[image: image4] 

[image: image5]
Picture1– Skewed rays





�





Picture 2 – Skewed rays 





�








Compare the measured acceptance angle and the value given in the datasheet. Explain the difference between the two values: 











Picture 2 – Spot size at position 2 





�








Picture 1 – Spots size at position 1 





�








Comparison with value obtained with skewed rays and datasheet. Interpret your result:








Picture 3 – Laser 





�








Picture 2 – LED 





�








Picture 1 – Halogen 





�








What is special for each source? Please comment! (i.e. the granular structure of the laser, overall light level, size of the spot).








Picture 1 – LED position 2





�








Picture 1 – LED position 1 





�








Compare power and NA ratio and interpret your result:














(Optional) Personal feedback: 





Was the amount of work adequate? 














What is difficult to understand? 














What did you like about it? 














How can we do better? 



































3

[image: image15.jpg][ §3/9/2016 1:13 PM



