Monte-Carlo Simulations with CASINO

Use Casino to

1) calculate for Cu, Si and C as target materials and perpendicular incidence:

· the penetration depth of 30keV, 15keV, 5keV, 1.5keV electrons

· observe the  escape depth of backscattered electrons (BSE), same energies

· observe the backscattering coefficient (at bottom of the program window)

[image: image1.png]B Casino v2.48 Untitled
File Edit View Simulation Settings X-Ray Display Help

BUE

7528

14800 74000 . Ul 2740.0%m 14800
Ready Backscattering Coefficient: 0.283500 [Elapsed Time: 00:00:05 Time Remaining: 00:00:00 [Progrc





2) simulate BSE profile across a grain boundary Al/Zn for 10keV, 5keV, 2keV

· estimate the resolution limit for a sharp interface and a beam diameter of 3nm

· optional: calculate the X-ray emission profile for a line scan across a grain boundary for 15keV. Al-K 1.4866keV, Zn-L 1.0118keV: which Energy would be most suitable to get the highest spatial resolution (calculate profiles)

3) simulate X-ray profile across a grain boundary Cu/Nb3Sn for 30keV and for 7 kV

· calculate the X-ray emission profile for a line scan across a grain boundary for 30 keV and 7 keV; which Energy would be most suitable to get the highest spatial resolution (calculate profiles)

________________________________________________________________________________

The following guide may help you.

Casino 2.48 (http://www.gel.usherbrooke.ca/casino/)
Monte CArlo SImulation of electroN trajectory in sOlids

Download .zip file from CIME homepage or Moodle and extract it to desktop.

Open folder and run wincasino2_64.exe:

[image: image2.png]| » Casino248 »

49 || Search Casino 248

File Edit View Tools Help

Organize » Open ~ New folder

< Google DriveFS

M Desktop
[ Libraries
. Documents
& Music
15, New Library
5 Pictures
& videos
R cantoni
& Computer
& 0S(C)
1> DATA (D)
1> DATA (E)
5% SDHC (F)
< Google Drive File Stream (G)
% sem (\\cimegepc50) (X)
# iCloud Photos
@ Network
[ control Panel
% Recycle Bin
'} backup
). Casino 248
L int

Name

b int
). licenses

| update.txt

| UserLayers.txt
B wincasino2.exe

Date modified

28/03/2017 0830
28/03/2017 0830
21/11/2010 12:02
21/11/2010 12:02
22/08/2011 1057

Type

File folder
File folder

Text Document
Text Document
Application

Size

1KB
1KB
3073K8

1item selected




Casino 2.48 opens:

[image: image3.png]Eile Edit View Simulation Settings X-Ray Display Help
D@ SR Bl wrewlo|s| mel@l »| |- @54 2

[Backscattering Coefficient 0.000000 [Elapsed Time: 00:00:00 Tim _/




Use settings to setup sample and microscope conditions:

[image: image4.png]File Edit View Simulation [Settings| X-Ray Display Help
D |E| SR B[% % Modify Sample
Set Up Microscope
Select Distributions
Runtime Options
Change Physical Models

Backscattering Coefficient 0.000000 |Elapsed Time: 00:00:00 Time Remaining: 00:00:00 Progress:  0.0%





Set sample (modify sample):
[image: image5.png]File Edit

Thickness (nrm)
Substrate
[V Use Substrate @ Muli-Layer  ( Grain Boundary
Thickness () [0
Add Layer Remove Selected Layer




 

Double click on “selected layer” (untitled) and enter chemical symbol(s) (for example Cu for a pure element or PbTiO3 for a compound).

[image: image6.png]Name Addto Library
Composition: 4

Density (g/cm3):  [2-96000
Element z Weight Fracion | __Atomic Fraction
v/ Cu 29 1.000000 1.000000

Aut

omplete Element Fractions

[~ User Defined Density
[~ User Defined Distibutions





You can build samples with layers on a substrate (lowest layer in list) or grain boundries (vertical boundary).


Use Set Up microscope (in settings) to defien condition for simulation:

[image: image7.png]Microscope and Simulation Proprieties

[~ Simulate Multiple Energies

Start. [30
Number of elecirans fa simulate
it of Specimen (deg)

Beam radius (i)

[” Scanthe beam to create a line scan

2000
o0
i

ke

From: [0 [

=

Load Settings... | Save Settings

[

nm

oK

Cancel





And then run the simulation (green triangle or Simulation menu Run)
[image: image8.png]Insert  Design Layout  References  Mailings  Review  View  Acrobat

Sign in
File Edit View T "
ile Edit View Tool X ., L Find -
orgar BA o2t 20 Y aBbcer AQBDC |ABbCCL AaBbCcl AaBbCCD: .
Replace
85c
~~{ File Edit View [Simulation| Settings X-Ray Display Help - B . Emphasis  Heading 1 | T Normal Strong Subtitle
Oslel 63 o frelulo]o] @l@w] | || @l 7] BT
Pause © Styles. © Editing
Stop f o819 11001 111 121 1301 141 15 1 A7 A8
n condition for simulation:
e scan
eps: 1 nm
lated Points
Of
[Backscattering Coefficient 0.000000 [Elapsed Time: 00:00:00 Tim _/
Qtew - K] concel And then run the simulation

Select a snip type from the
or click the New button. | -




  

and adjust view with Auto-Adjust Scale:   [image: image9.png]M

Insert  Design Layout  References  Mailings  Review  View  Acrobat n Sign in

A P Find -
B2 Casino v248 Untitied 2L 1 4aBbCcL MQBDC AaBbCCI| AaBbCel AsBbCeD: .
T | 25 Replace
File Edit [View| Simulation Settings X-Ray Display Help . Emphasis  Heading 1 | T Normal Strong Subtitle ac
s V| Toolbar L [3 Setect~
e I ::USIAZQI:SQI : [ 5 Styles ® Editing .
)
-

5945 nm Wi 5945 nm 11897 nm

c o [Backscattering Coefficient: 0.279500 [Elapsed Time: 00:00:05 Tim _/
tem selecteq

V27

S Snipping Tool

o Rnew v

Select a snip type
|| ordlickthe New b

| Monte-Carlo Simulations with CASINO
-
: v / Use Casino to





[image: image10.png]B Casino v2.48 Untitled
Eile Edit View Simulation Settings X-Ray Display Help
D[=E| SR Bl
30,00 KeV'

8435 4218 nm AWl 42180 8436 nm
Ready Backscattering Coefficient: 0.279500 [Elapsed Time: 00:00:05 Tim




     [image: image11.png]B Casino v2.48 Untitled

Eile Edit View Simulation Settings X-Ray Display Help

Ready

11897 nm

1000

1650.0

22000

5948 nm AWl 5948 nm 1189.7 nm

Backscattering Coefficient: 0.279500 [Elapsed Time: 00:00:05 Tim





Before 






After

Scan across a grain boundary:

Quit Casino and restart.

Setup grain boundary model (don´t forget to set a thickness !):

[image: image12.png]File Edit

Name Thickness (o)
(@A Substrate
@z Substrate
[V Use Substrate € Muli-layer @ Grain Boundary

Thickness (nm): [10000

Add Layer Remove Selected Layer





Setup a “scanning beam” in the microscope menu (reduce the number of electrons in order to speed up the simulation):

[image: image13.png]Microscope and Simulation Proprieties ==

[~ Simulate Multiple Energies

Start. [30 30 ! ke
Number of electrans o simulate: {500

Tiltof Specimen (deg): |0

Beam radius (i)

[¥ Scan the beam to create a line scan

From: [1500 To: 1500 Steps: |50 m

[v Conserve Data For Each Simulated Points

Load Settings. Save Setlings. I OK

Cancel






Scroll through the different position and observe the interaction volume:

[image: image14.png]B Casino v2.48 Untitled (== ol =

Eile Edit View Simulation Settings X-Ray Display Help

D@ SR tB[%%lt (o]~ @ D=

-6 30.00 KeV - 0.0 nm
BE by Position
% XRay Intensity

RN

1059.2 nm

2118.4 nm

3177.7 nm

4236.9 nm

AlS y / > /' e i ? Zn Substrate|

o E2 950 00 e i 1700.0 nm 3400:0 nm

Ready Backscattering Coefficient: 0.108000 [Elapsed Time: 00:01:39 Time Remaining: 00:00:00 [Progress: 100.0% [Stopped





Select BE (Backscattered Electrons) by position to display the profile across the (sharp) boundary.

[image: image15.png]B Casino v2.48 Untitled

Eile Edit View Simulation Settings X-Ray Display Help

ol

B SR 8% %l (e o

]

v|

=] &3 2]

- 3000 KeV

& XRay Intensity
@ -1500.00 nm
@ -1450.00 nm
@ -1400.00 nm
@ -1350.00 nm
@ -1300.00 nm
@ -1250.00 nm
@ -1200.00 nm
@ -1150.00 nm
@ -1100.00 nm
@ -1050.00 nm
@ -1000.00 nm
@ -950.00 nm
@ -900.00 nm
@ -850.00 nm
@ -800.00 nm
@ -750.00 nm
@ -700.00 nm
@ -650.00 nm
@ -600.00 nm
@ -550.00 nm
@ -500.00 nm
@ -450.00 nm
@ -400.00 nm
@ -350.00 nm
@ -300.00 nm
@ -250.00 nm
@ -200.00 nm
@ -150.00 nm
@ -100.00 nm
@ -50.00 nm
@ 000 nm

@ 5000 nm

@ 10000 nm
@ 15000 nm
@ 20000 nm

0 E 95000

Ready

m

BE Coeff

0.37

0.294

0.224

0.154

BE by position

B clsgatf@fled Electrons

-Detect»dB ckbcitterdd Eidctforys

0.073

0

3E+002

6E+002

9E+002

1.2E4003  1.5E+003  1.8E+003  2.1E+003  24E+003  2.7E+003

Position (nm)

3E+0!

Backscattering Coefficient: 0.112000 [Elapsed Time: 00:01:39 [Time Remaining: 00:00:00 [Progress: 100.0% [Stopped





Do the same for 5 kV electrons
reduce the scan range  to -150 to 150 at 5nm intervals….

[image: image16.png]Microscope and Simulation Proprieties ==

[~ Simulate Multiple Energies

Start |5 5 ! ke

Number of electrans o simulate: {500

Tittof Specimen (deg)

Beam radius (nm). |1

[¥ Scan the beam to create a line scan

nm

From: [150 To: [150 Steps

[v Conserve Data For Each Simulated Points

Load Settings. Save Setlings. I OK

Cancel





[image: image17.png]B Casino v2.48 Untitled

File Edit View Simulation Settings X-Ray Display Help

D|=(E| SR tB[%%lt| (o]~ @ |-l B 2]

-6 5.00 KeV n BE by position

BE by Position
0.37+

& XRay Intensity
@ -150.00 nm

@ -145.00 nm Backscattered Electrons
@ -140.00 nm
@ -135.00 nm
@ -130.00 nm

& -125.00 nm 0.34 -Dmcted [BRscaffered BRctrons
& -120.00 nm

@ -115.00 nm
@ -110.00 nm
@ -105.00 nm
@ -100.00 nm
@ -95.00 nm

& -90.00 nm 0.224
@ -85.00 nm
@ -80.00 nm
@ -75.00 nm
@ -70.00 nm
@ -65.00 nm
@ -60.00 nm
@ -55.00 nm
@ -50.00 nm
@ -45.00 nm
@ -40.00 nm
@ -35.00 nm
@ -30.00 nm
8 -25.00 nm 0.074
@ -20.00 nm
@ -15.00 nm
@ -10.00 nm
@ -5.00 nm

@ 000 nm

@ 500 nm

@ 10.00 nm o g g g y y y g g g
& 15.00 nm 0 30 60 90 1.2E+002 1.5E+002 1.8E+002 2.1E+002 2.4E+002 2.7E+002 3E+0

@ 2000 nm "
B AE AN e v Position (nm)

Ready Backscattering Coefficient: 0.144000 [Elapsed Time: 00:00:09 Time Remaining: 00:00:00 [Progress: 100.0% [Stopped

m

BE Coeff

0.154






Setup a grain boundary between Cu and Nb3Sn

[image: image18.png]File Edit

Name Thickness (o)

|@cu Substrate

@No3sn Substrate

v Use Substrate € Multi-layer @ Grain Boundar
e y

Thickness (nm): [10000

Add Layer Remove Selected Layer





Setup a scan from -2000 to 2000nm at 100nm intervals

[image: image19.png]Microscope and Simulation Proprieties ==

[~ Simulate Multiple Energies

Start. [30 30 ! ke
Number of electrans o simulate: {500

Tiltof Specimen (deg): |0

Beam radius (i)

[¥ Scan the beam to create a line scan

From: 2000 To: [2000 Steps: 100 nm

[v Conserve Data For Each Simulated Points

Load Settings. Save Setlings. I OK

Cancel






Observe the X-ray signal intensity produced across the interface

[image: image20.png]B Casino v2.48 Untitled

File Edit View Simulation Settings X-Ray Display Help

D[z|E| SR Bl%/%%] 2|kl o

[14][=)

| »

| &l 2

=@ 3000 KeV
BE by Position
-¥% XRay Intensity

cfc]

@ Nb

©sn

[

Be

B

ppeee

Be

B

ppeee

Be

BB

3.8E+003-

2.8E+003-

E+003-{

X@ay Intensity

9.4E+002-

XRay Intensity of Cu

1§
sl
L%

)

T
4E+002

T
8E+002

T T T T T T
1.2E4003 16E+003 2E4003 2.4E+003 28E+003 3.2E4003 3.6E4003  4E+0(

Position (nm)

Backscattering Coefficient: 0296000 [Elapsed Time: 00:01:29 [Time Remaining: 00:00:00 [Progress:





Do the same for 7 kV:

[image: image21.png]B Casino v2.48 Untitled

Eile Edit View Simulation Settings X-Ray Display Help

D[z|E| SR Bl%/%%] 2|kl o

[14][=)

| »

| &l 2

= 7.00 KeV
BE by Position
-¥% XRay Intensity

cfc]

@ Nb

©sn

[

Be

B

ppeee

Be

B

ppeee

Be

BB

1.3E4003

1E4003-{

7.7E+002-

E+002-

XBay Intensity

2.6E+002-

XRay Intensity of Cu

1§
sl
L%

)

T
4E+002

T
8E+002

T T T T T T T g
1.2E4003 16E+003 2E4003 2.4E+003 28E+003 3.2E4003 3.6E4003  4E+0(

Position (nm)

Backscattering Coefficient: 0268000 [Elapsed Time: 00:00:10 [Time Remaining: 00:00:00 [Progress:





