Cell Sample Preparation for Proteomics and Phosphoproteomics (extracted from https://biosignaling.biomedcentral.com/articles/10.1186/s12964-019-0326-6) - Bottom-Up Shotgun Workflow

### Phosphoproteomics and sample preparation

60 mm diameter petri dishes where seeded with 2 × 106 INS-1E cells, and maintained in the incubator for 48 h until they reached 70–80% confluence. The day of the experiment, INS-1E cells were equilibrated at 37 °C in KRBH containing 2.5 mM glucose for 30 min. The plates were divided in two experimental groups and incubated either with 16.7 mM (high glucose) or maintained in 2.5 mM glucose in the same KRBH (low glucose). Subsequently, cell lysis was carried out after 5, 30 and 60 min on both groups. Lysates were prepared in RIPA buffer containing broad spectrum kinase and phosphatase inhibitors (Roche) at 4 °C. Protein concentrations were determined using the Pierce® BCA Protein Assay Kit. Following randomization of the samples and conditions (Additional file 1: Figure S1), samples containing 150 μg of proteins were taken for proteomic analysis and prepared in a final volume of 150 μl in 100 mM triethylammonium hydrogen carbonate buffer pH 8.5. Protein disulfide bridges were reduced with 10 mM tris(2-carboxyethyl)phosphine hydrochloride for 1 h at 55 °C. Alkylation was performed with 17 mM iodoacetamide for 30 min at room temperature in the dark. To remove lipids and salts, proteins were precipitated using methanol/chloroform. Methanol (400 μl), chloroform (100 μl) and H2O (300 μl) were added sequentially. Mixtures were centrifuged at 13,000 rpm (~ 18,500×g) for 5 min at 4 °C. Upper and lower phases were discarded. The white precipitates were washed with methanol (300 μl) and dried for 5 min. Protein pellets were suspended in 150 μl of 100 mM triethylammonium hydrogen carbonate buffer pH 8.5 and digested with an enzyme cocktail of trypsin/LysC (Promega, WI, USA) (1:50 w/w) at 37 °C overnight. The resulting peptides were isobarically labelled with tandem mass tags (TMT10plex™ from Thermo Scientific, IL, USA) by addition of 1.6 mg of TMT reagent in 82 μl of CH3CN for 1 h. The differentially labelled samples were pooled after reaction quenching with hydroxylamine. Samples were cleaned up using Oasis HLB cartridges (Waters, MA, USA), conditioning buffer (H2O/CH3CN/trifluoroacetic acid - TFA 5/94.9/0.1), loading/washing buffer (H2O/CH3CN/TFA 94.9/5/0.1) and elution buffer (H2O/CH3CN/TFA 49.9/50/0.1) as previously describeddoi: https://doi.org/10.1007/978-1-4939-7057-5 and finally dried (an amount of ~ 500 μg (non-enriched fractions) for each TMT experiment (Additional file 1: Figure S1) was kept for reversed-phase liquid chromatography tandem mass spectrometry (RP-LC MS/MS) analysis). From 500 μg samples, isobarically-10plex phosphorylated peptides were enriched with TiO2 Mag Sepharose magnetic beads (GE Healthcare, Switzerland) following manufacturer instructions for enrichment of phosphopeptides (phospho-enriched fractions).

Samples (phospho-enriched and non-enriched fractions) were dissolved in H2O/CH3CN/formic acid 96.9/3/0.1. RP-LC MS/MS was performed on a hybrid linear ion trap-Orbitrap (LTQ-OT) Elite equipped with an Ultimate 3000 RSLC nano system (Thermo Scientific). Proteolytic peptides were trapped on an Acclaim PepMap 75 μm × 2 cm (C18, 3 μm, 100 Å) pre-column and separated on an Acclaim PepMap RSLC 75 μm × 50 cm (C18, 2 μm, 100 Å) column (Thermo Scientific) coupled to a stainless steel nanobore emitter (40 mm, OD 1/32″) mounted on a Nanospray Flex Ion Source (Thermo Scientific). The analytical separation of the phospho-enriched fractions was run for 150 min using a gradient that reached 30% of CH3CN after 140 min and 80% of CH3CN after 150 min at a flow rate of 220 nl/min. The analytical separation of the non-enriched fractions was run for 330 min using a gradient that reached 30% of CH3CN after 320 min and 80% of CH3CN after 330 min at a flow rate of 220 nl/min. For MS survey scans, the OT resolution was 120,000 at m/z = 400 (ion population of 1 × 106) with an m/z window from 300 to 1500. For MS/MS with higher-energy collisional dissociation at 35% of the normalized collision energy and detection in the OT, ion population was set to 1 × 105 (isolation width of 2 m/z), with resolution of 30,000 at m/z = 400, first mass at m/z = 100, and a maximum injection time of 250 ms. A maximum of 10 precursor ions (most intense) were selected for MS/MS. Dynamic exclusion was set for 60 s within a ± 5 ppm window. A lock mass of m/z = 445.1200 was used. Each sample was analyzed in triplicate.

Protein identification was performed using Mascot 2.4.0 (Matrix Sciences, UK) against the UniProtKB rat proteome database (27/08/2014 release; 28,900 entries). Trypsin was selected as the proteolytic enzyme, with a maximum of 2 potential missed cleavages. Peptide and fragment ion tolerance were set to, respectively, 10 ppm and 0.02 Da. Mascot result files from both phospho-enriched and non-enriched fractions were loaded into Scaffold Q + S 4.3.2 (Proteome Software, OR, USA) for sample normalization purposes and further searched with X! Tandem (The GPM, thegpm.org; version CYCLONE (2010.12.01.1)). For the phospho-enriched fractions, we considered carbamidomethylation of Cys, TMT-labeling of Lys and TMT-labeling of peptide amino termini as fixed amino acid modifications, and oxidation of Met, deamidation of Asn and Gln, and phosphorylation of Ser, Thr and Tyr as variable modifications. For the non-enriched fractions, we considered carbamidomethylation of Cys as fixed amino acid modifications, and oxidation of Met, deamidation of Asn and Gln, acetylation of Lys, TMT-labeling of Lys and peptide amino termini, and phosphorylation of Ser, Thr and Tyr as variable modifications. Based on a target-decoy strategy, both peptide and protein false discovery rates were fixed at 1% maximum, with a one-unique-peptide criterion to report protein identification. Scaffold PTM 3.0.0 (Proteome Software) was used to annotate post-translational modifications (PTMs) from Scaffold results. Using the site localization algorithm developed by Beausoleil et al., doi:https://doi.org/10.1038/nbt1240 Scaffold PTM re-analyzes tandem mass spectra identified as modified peptides and calculates Ascore values and site localization probabilities to assess the level of confidence in each PTM localization. Scaffold PTM then combines localization probabilities for all peptides containing each identified PTM site to obtain the best-estimated probability that a PTM is present at that particular site. Minimum localization probability was set to 95%. Isobaric tagging quantitative values for phosphorylated peptides were exported from Scaffold PTM and relative quantification of phosphorylation sites was computed using an in-house script with R version 3.1.1 (http://www.r-project.org/).

Paired t-test was applied to identify proteins and p-sites displaying p-values≤0.05 between the low glucose and high glucose groups at every time point. Regulation threshold was fixed at 23%, i.e., Log2 fold change (FC) > 0.3 or < − 0.3.