## Slide 1
Fundamentals of Electrical Circuits and Systems
Chapter 1: Basic Concepts
Farhad Rachidi
Electromagnetic Compatibility Laboratory
École Polytechnique Fédérale de Lausanne
Lausanne, Switzerland

## Slide 4: Evaluation
  Final exams during the winter session
  EE-407: 60% exam, 30% LTSpice simulations, 10% lab

## Slide 5: Electrical circuits: Fundamentals
What is an electrical circuit ?
Unit systems
Usual quantities
  Charge, current, voltage
  Power and energy
Basic circuit elements
  Resistance
  Capacitance
  Inductance
  Voltage and current sources
Kirchhoff’s law
Combination of elements
Voltage / current dividers

## Slide 6: Electrical circuits: Fundamentals
What is an electrical circuit ?
Unit systems
Usual quantities
  Charge, current, voltage
  Power and energy
Basic circuit elements
  Resistance
  Capacitance
  Inductance
  Voltage and current sources
Kirchhoff’s law
Combination of elements
Voltage / current dividers

## Slide 7: What is an electrical circuit ?
An electrical circuit allows
  to transport energy from one point to another

## Slide 8: What is an electrical circuit ?
An electrical circuit allows
  to transport energy from one point to another
  to transmit information
Wiring in an airplane
Notes: Plus d’une tonne dans les avions modernes.

## Slide 9: What is an electrical circuit ?
An electrical circuit allows
  to transport energy from one point to another
  to transmit information
  to process information

## Slide 10: What is an eletrical circuit ?
An electrical circuit is an interconnection between electrical elements (components).

## Slide 11: What is an electrical circuit ?
An electrical circuit is an interconnection between electrical elements (components).
It is formed of
branches

## Slide 12: What is an electrical circuit ?
An electrical circuit is an interconnection between electrical elements (components).
It is formed of
nodes

## Slide 13: What is an electrical circuit ?
Passive linear elements

## Slide 14: What is an electrical circuit ?
An electrical circuit is an interconnection between electrical elements (components).
It is formed of branches and nodes
Passive linear elements are resistors, inductors and capacitors.

## Slide 15: What is an electrical circuit ?
An electrical circuit is an interconnection between electrical elements (components).
It is formed of branches and nodes
Passive linear elements are resistors, inductors and capacitors.
Active elements (sources) are sources of voltage and current.

## Slide 16: What is an electrical circuit ?
Active elements (sources)

## Slide 17
Examples of sources
Notes: Bicycle dynamo generator

## Slide 18: What is an electrical circuit ?
An electrical circuit is an interconnection between electrical elements (components).
It is formed of branches and nodes
Passive linear elements are resistors, inductors and capacitors.
Active elements are sources of voltage and current.
The circuits are expressed in terms of two basic quantities: current and voltage.

## Slide 19: Electrical circuits: Fundamentals
What is an electrical circuit ?
Unit systems
Usual quantities
  Charge, current, voltage
  Power and energy
Basic circuit elements
  Resistance
  Capacitance
  Inductance
  Voltage and current sources
Kirchhoff’s law
Combination of elements
Voltage / current dividers

## Slide 20: Unit systems
International system of units (coherent and universal)
Base units: meter (m), second (s), kilogram (kg), kelvin (K), mol (mol), candela (cd), ampere (A).
Derived electrical units: volt (V), coulomb (C), ohm (W), siemens (S), henry (H), farad (F), watt (W), joule (J), hertz (Hz) ...
Other units used: degree Celsius (oC), hour (h), kilowatt hour (kWh)

## Slide 21: Prefixes
Prefix | Symbol | Multiplier
pico | p | 10-12
nano | n | 10-9
micro | m | 10-6
milli | m | 10-3
kilo | k | 103
mega | M | 106
giga | G | 109
Examples:
milliampere: mA
kiloampere: kA
picofarad: pF

## Slide 22: Time, Mass
The second (s): duration of 9 192 631 770 periods of the radiation corresponding to the transition between two hyperfine levels of the ground state of the cesium 133 atom!
The kilogram (kg): mass of the 1889 prototype in platinum deposited at the International Bureau of Weights and Measures.

## Slide 23: Length
The meter (m): length of the path traveled in the vacuum by the light in 1/299 792 458 seconds (1983).
Previously :
- one quarter of the ten millionth of the terrestrial meridian (1889-1960)
- compared to the emission lines of a discharge lamp containing krypton 86 (1960-1983).

## Slide 24: Electric charge
The electric charge is an electrical property of the atomic particles that make up the matter, it is measured in Coulomb (C).
1 C = 1/1.602x10-19 = 6.24x1018 electrons
The only charges that exist in nature at our scale are integer multiples of the elementary charge
e = -1.602x10-19 C.
Charles de Coulomb (1736-1806),
French physicist.

## Slide 25: Charge and electric current
The electric current is the time rate of change of the charge, measured in Ampere (A).
André-Marie Ampère (1775-1836),
French physicist, founder of electrodynamics. We owe him the terms of voltage and current.

## Slide 26: Charge and electric current
The electric current is the time rate of change of the charge, measured in Ampere (A).
The relationship between the charge q and the current i is given by

## Slide 27: The direction of the electric current
By convention, the direction of the current is given by the movement of positive charges

## Slide 28: Charge and electric current
A direct current I is a current independent of time.
An alternating current is a current that periodically changes direction.
Sinusoidal alternating current

## Slide 29: Voltage, potential difference, electromotive force
Moving electrons in a conductor in a particular direction requires some work or energy transfer.
This work is performed by an external force to the charge provided by a power source and called electromotive force, voltage or potential difference.
The voltage or potential difference vab between two points of a circuit is the energy required to move a unit of electric charge from point a to point b.
Comte Alessandro Volta (1745-1827), italian physicist, inventor of the electric battery (1800).

## Slide 30
Analogy
Water - Flow
Electricity - current
at a given moment, we measure the amount of water flowing (the flow)
at a given moment, we measure the number of electrons circulating
(= CURRENT)

## Slide 31
Analogy
Water – Slope
Electricity - voltage
the slope or difference in height pushes the water down
a force pushes the current in the electric circuits
( = VOLTAGE)

## Slide 32: Voltage, potential difference, electromotive force
Mathematically :
w is the energy (J) and q is the charge(C).
The voltage uab is defined between two points of the circuit a and b.
if uab>0: the potential of point a is greater than the potential of point b
if uab<0: the potential of point a is smaller than the potential of point b
uab

## Slide 33: Voltage, potential difference, electromotive force
uab= 9 V
uba= -9 V
uab
uba

## Slide 34: Voltage and electric field
The voltage between two points a and b can also be defined as the integral of the electric field between these two points

## Slide 35: Power and Energy
Power is the rate at which you consume energy.
The watt (W), unit of power, corresponding to the transfer of 1 joule of energy over one second.
Mathematically :

## Slide 36: Power and Energy
Power is the rate at which you consume energy.
The watt (W), unit of power, corresponding to the transfer of 1 joule of energy over one second.
Mathematically :

## Slide 37: Power and Energy
Power is the rate at which you consume energy.
The watt (W), unit of power, corresponding to the transfer of 1 joule of energy over one second.
Mathematically :

## Slide 38: Power and Energy
Power is the rate at which you consume energy.
The watt (W), unit of power, corresponding to the transfer of 1 joule of energy over one second.
Mathematically :
James Watt (1736-1819), mechanical engineer and British inventor. We owe him the steam engine.

## Slide 39: Power and Energy
In an electrical circuit, the instantaneous power p(t) is equal to the product of the instantaneous voltage and the instantaneous current, and the average power P is equal to the mean value of the instantaneous power
ou

## Slide 40: Power and Energy
The energy absorbed or supplied by an element during the time interval from 0 to t is :
The law of energy conservation implies that the algebraic sum of the power in a circuit, at any instant, must be zero :

## Slide 41: Joule
The Joule (J) is equivalent to the work produced by a force of 1 N whose point of application moves one meter in the direction of the force.
James prescott Joule (1818-1890), British physicist. He studied the heat released by the electric currents (Joule heating).

## Slide 42: Passive elements

## Slide 43: Resistance/Resistor
Circuit element that satisfies Ohm's law
The unit of resistance is the ohm (Ω)
Georg Simon Ohm (1789-1854), German physicist. He discovered in 1827 the fundamental laws of electric currents.

## Slide 44: Ohm’s Law and Resistance
L
Section a
Material with resistivity ρ
i
u
R
Ohm’s law :
J: Current density A/m2
S

## Slide 45: Resistance: current and voltage

## Slide 46: Resistance: dissipated power

## Slide 47: Resistance: dissipated energy
The electrical energy supplied to a resistor for a duration t is dissipated in the form of heat
Continuous regime:

## Slide 48: Resistance: dissipated energy
Continuous regime :
Sinusoidal regime:
slope
mean growth of
slope

## Slide 49: Short circuit
Let a circuit whose two points are connected by a resistor. If the value of this resistance tends to zero, these two points become short circuited.
In practice, a piece of wire is often (not always!) a short circuit.

## Slide 50: Open circuit
Let a circuit whose two points are connected by a resistor. If one makes the value of this resistance tend towards infinity, these two points become in open circuit.
In practice, an open circuit is realized by removing all the elements that connect the two points of the circuit.

## Slide 51: Resistor: physical element
1/8 W
1/4 W
1/2 W
Variables resistors

## Slide 52: Conductance
Inverse of resistance G=1/R
The unit of conductance is the Siemens (S)
Werner von Siemens (1816-1892), German engineer and industrialist.

## Slide 53: Capacitance/Capacitor
Circuit element that obeys the following
relationship :
Knowing that the current is the flow of charges :

## Slide 54: Capacitance
The value C of the capacitance is expressed in farad (F).
Michael Faraday (1791-1867), British physicist.

## Slide 55: Capacitance: current and voltage
In continuous regime : open circuit
In sinusoidal regime :
for
for

## Slide 56: Capacitance: no voltage step!

## Slide 57: Capacitance: electrostatic energy
Sinusoidal regime:

## Slide 58: Capacitance: electrostatic energy
Sinusoidal regime:

## Slide 59: Capacitor: physical element
Ceramic (100 pF, 10 nF)
Metallic polyester film
(1 nF, 220 nF, 2.2 mF)

## Slide 60: Inductance/Inductor
Circuit element that obeys the following
relationship :
The unit of inductance is henry (H).
Joseph Henry (1797-1878), american physicist.

## Slide 61: Inductance: current and voltage
In continuous regime: short circuit
In sinusoidal regime:
x
x

## Slide 62: Inductance: no current step!

## Slide 63: Inductance: magnetic energy
Sinusoidal regime:

## Slide 64: Inductor: physical element
1-100 mH
Toroidal coils

## Slide 65: Coupled (Mutual) inductors
Coupled inductors constitute a biporte defined by the constitutive relations :

## Slide 66: Coupled (Mutual) inductors
Coupled inductors constitute a biporte defined by the constitutive relations :
Inductors

## Slide 67: Coupled (Mutual) inductors
Coupled inductors constitute a biporte defined by the constitutive relations :
Mutual inductances

## Slide 68: Active circuit elements

## Slide 69: Ideal voltage source
Circuit element capable of supplying or absorbing electrical energy and whose voltage across its terminals is constant and independent of the charge connected to it.
A voltage source provides no energy when it is in open circuit.
Symbol :

## Slide 70
Examples of sources

## Slide 71: Ideal current source
Circuit element capable of supplying or absorbing electrical energy and whose current flowing through it is constant and independent of the charge connected to it.
A current source provides no energy when it is short-circuited.
Symbol :

## Slide 72: Dependent sources
Voltage source controlled by a voltage
Source de courant commandée par une tension
Source de courant commandée par un courant

## Slide 73: Dependent sources
Voltage source controlled by a voltage
Voltage source controlled by a current
Source de courant commandée par un courant

## Slide 74: Dependent sources
Voltage source controlled by a voltage
Voltage source controlled by a current
Current source controlled by a voltage

## Slide 75: Dependent sources
Voltage source controlled by a voltage
Voltage source controlled by a current
Current source controlled by a voltage
Current source controlled by a current

## Slide 76: Kirchhoff’s Laws
Fundamental laws of electrical circuits
Gustav Robert Kirchhoff (1824-1897), German physicist.

## Slide 77: Kirchhoff’s current Law

## Slide 78: Kirchhoff’s current Law
The sum of currents in a closed boundary is zero

## Slide 79: Kirchhoff’s voltage Law
Notes: Example

## Slide 81: Limitations of the Kirchhoff model
Kirchhoff's model is a special case of a more general model, the Maxwell model.
Maxwell's equations describe the phenomenon of wave propagation. A basic assumption of Kirchhoff's model is the equality of the current entering and leaving a node.
For example, the current at both ends of a resistor is the same at all times. This is no longer the case if a wave propagates along the resistance.
However, if the wavelength is much greater than the length of the resistance, the Kirchhoff model remains valid.

## Slide 82: 'Real' voltage source
slope
Ideal source
The voltage of a real voltage source such as a battery decreases with the current it provides. We can model such a source by an ideal source in series with a resistance :
external
load

## Slide 83: 'Real' current source
slope
Ideal source
Current-voltage characteristic and equivalent circuit
External load

## Slide 84: Elements in series
Elements connected in series are traversed by the same current. The voltage across the circuit is equal to the sum of the voltages relative to each element.

## Slide 85: Resistors in series

## Slide 86: Capacitors in series
and

## Slide 87: Inductors in series
and

## Slide 88: Voltage sources in series

## Slide 89: Current sources in series
Impossible unless all individual sources produce the same current

## Slide 90: Series circuit: example

## Slide 91: Elements in parallel
Elements connected in parallel are subjected to the same voltage. The total current is the sum of the individual currents.

## Slide 92: Resistors in parallel

## Slide 93: Capacitors in parallel
and

## Slide 94: Inductors in parallel
and

## Slide 95: Voltage sources in parallel
Impossible unless all individual sources produce the same voltage

## Slide 96: Current sources in parallel

## Slide 97: Series-parallel circuits

## Slide 98: Series-parallel circuits

## Slide 99: Series-parallel circuits

## Slide 100: Series-parallel circuits

## Slide 101: Series-parallel circuits

## Slide 102: Voltage divider
(No initial voltages)

## Slide 103: Current divider
(No initial currents)

## Slide 104: Voltage / current divider : example
Solution on the board