## Slide 1
Fundamentals of Electrical Circuits and Systems
Chapter 6: AC Circuits 3
Farhad Rachidi
École Polytechnique Fédérale de Lausanne
Lausanne, Switzerland

## Slide 2: AC Circuits 3
Source with internal impedance
Impedance networks
  Impedance in series
  Impedance in parallel
Phasor and impedance diagram
Voltage and current dividers
Thévenin and Norton theorems in AC circuits
Examples
Instantaneous power in AC circuits
Active power P
Reactive power Q
P and Q for a resistor, an inductor, a capacitor
P and Q for an impedance
Apparent power S
Power factor
Power factor correction
Example

## Slide 3: Source with internal impedance
Generalization of the notion of internal resistance: internal impedance

## Slide 4: Source with internal impedance
Equivalent representation in terms of current source

## Slide 5: Equivalence voltage/current sources

## Slide 6: Impedance / admittance in series

## Slide 7: Impedance / admittance in parallel

## Slide 8: Elementary Composite Bipoles
Circuit | Impedance | Admittance

## Slide 9: Elemental Composite Bipoles (continued)
Circuit | Impedance | Admittance

## Slide 10: Impedance diagram
Re
Im
Resistance
Inductance
Re
Im
Capacitance
Re
Im

## Slide 11: Impedance diagram
Re
Im
RLC circuit in series

## Slide 12: Impedance diagram
Re
Im
RLC circuit in series

## Slide 13: Phasor diagram
Re
Im
RLC circuit in series
Given: current I
Problem: calculate U

## Slide 14: Phasor diagram: series-parallel circuit
Im
Given: current I1
Problem: calculate U= U1+U3
0

## Slide 15: Question
We have two impedances in series Z1 and Z2. The module of the equivalent impedance is the sum of the modules.
A: True
B: False

## Slide 16: Equivalent tripoles

## Slide 17: Voltage and current dividers

## Slide 18: Thévenin’s theorem in AC circuits
a
b
All sources have the same frequency

## Slide 19: Norton’s theorem in AC circuits
a
b
All sources have the same frequency

## Slide 20: Example 1: RL circuit in series
Determine I, UR and UL

## Slide 21: Example 2: RC circuit in series
Determine I, UR and UC

## Slide 22: Example 3: RLC circuit
Determine the current i(t)

## Slide 23: Example 4: Thévenin’s theorem
Determine the voltage U

## Slide 24: Question
The resistance of the following impedence is
A:
B:
C:

## Slide 25: Instantaneous power in AC circuits
Voltage
Current

## Slide 26: Instantaneous power in AC circuits
Re
Im

## Slide 27: Instantaneous power in AC circuits
Instantaneous power:
Constant
component
Sinusoidal component
(double frequency)

## Slide 28: Instantaneous power in AC circuits

## Slide 29: Instantaneous power in AC circuits
Using the following trigonometric identity:
Instantaneous power becomes:
Pulsed component, positive,
which oscillates around UIcosφ
Alternative component with
average value of zero
Translates a unidirectional
energy exchange
Translates an oscillatory
energy exchange

## Slide 30: Active and reactive power
Reactive power
Active power
W
var (volt-ampere-reactive)
Reactive power : storage and periodic return of energy at twice the frequency of current and voltage

## Slide 31: P and Q for a resitor
Reactive power
Active power
Instantaneous power :

## Slide 32: P and Q for an inductor
Reactive power
Active power
Instantaneous power :
An inductor does not dissipate energy: energy is absorbed during
one half of each half cycle and returned during the other half.

## Slide 33: P and Q for a capacitor
Reactive power
Active power
Instantaneous power :

## Slide 34: P and Q for an impedance
Reactive power
Active power
Instantaneous power :

## Slide 35: Question
What would be the expression of the active power expressed as a function of the voltage?
Can not express it according to the voltage
B.
C.
D. None of the above
Notes: c

## Slide 36: Complex apparent power
The complex apparent power, noted S:
The real part of S corresponds to P
The imaginary part of S corresponds to Q
Used to represent P and Q in complex form
The apparent power unit is the voltampere (VA)

## Slide 37: S for an impedance

## Slide 38: S for an impedance
Taking the voltage as reference:
We can write :
And then :

## Slide 39: Apparent power
Triangle of impedances
R
X
Z
And of powers
P
Q
S

## Slide 40: Reactive power: example
Single-phase line, RL charge in series
source
line
charge

## Slide 41: Reactive power: example (continued)

## Slide 42: Reactive power: example (continued)
Losses in the line:
Losses in the line are worth, to a factor, the reactive power

## Slide 43: Power: analogy

## Slide 44: Power factor
The power factor is defined by
φ being between –π/2 and π/2, the power factor is always
positive and between 0 and 1
Resistance:
Inductance:
Capacitance:

## Slide 45: Improving the power factor
In general, in industry, charges are inductive in nature
To get the most out of the equipment, the actual power must be as close as possible to the apparent power, i.e. the reactive power must be minimized

## Slide 46: Improving the power factor
In the triangle of powers, the length S must tend towards the one of P and φ must be as small as possible.
This angle is reduced by adding capacitors in parallel with the charge: this is the correction of the power factor.

## Slide 47: Active and reactive powers: example
An industrial charge is represented by an impedance formed by the series setting of a resistor and an inductor. The voltage across the charge is UL= 250ej0 (V).
Calculate the current IL, Q, P, S and Fp of the charge.
b) Calculate the voltage of the source if the line connecting the source to the charge has a given impedance Zl. Calculate the power lost in the line.
c) If we add a capacitor of XC =-12.5 Ω in parallel, calculate the current taken by the C, the new current supplied by the source and Fp of the entire charge and capacity (for the same voltage across the charge).
d) Calculate the new voltage of the source and the new power loss in the line.

## Slide 48: Solution
a)

## Slide 49: Active and reactive powers: example
An industrial charge is represented by an impedance formed by the series setting of a resistor and an inductor. The voltage across the charge is Uch= 250ej0 (V).
Calculate the current Ich, Q, P, S and Fp of the charge.
b) Calculate the voltage of the source if the line connecting the source to the charge has a given impedance Zl. Calculate the power lost in the line.
c) If we add a capacitor of XC =-12.5 Ω in parallel, calculate the current taken by the C, the new current supplied by the source and Fp of the entire charge and capacity (for the same voltage across the charge).
d) Calculate the new voltage of the source and the new power loss in the line.

## Slide 50: Solution (continued)
b)

## Slide 51: Active and reactive powers: example
An industrial charge is represented by an impedance formed by the series setting of a resistor and an inductor. The voltage across the charge is Uch= 250ej0 (V).
Calculate the current Ich, Q, P, S and Fp of the charge.
b) Calculate the voltage of the source if the line connecting the source to the charge has a given impedance Zl. Calculate the power lost in the line.
c) If we add a capacitor of XC =-12.5 Ω in parallel, calculate the current taken by the C, the new current supplied by the source and Fp of the entire charge and capacity (for the same voltage across the charge).
d) Calculate the new voltage of the source and the new power loss in the line.

## Slide 52: Solution (continued)
c)

## Slide 53: Active and reactive powers: example
An industrial charge is represented by an impedance formed by the series setting of a resistor and an inductor. The voltage across the charge is Uch= 250ej0 (V).
Calculate the current Ich, Q, P, S and Fp of the charge.
b) Calculate the voltage of the source if the line connecting the source to the charge has a given impedance Zl. Calculate the power lost in the line.
c) If we add a capacitor of XC =-12.5 Ω in parallel, calculate the current taken by the C, the new current supplied by the source and Fp of the entire charge and capacity (for the same voltage across the charge).
d) Calculate the new voltage of the source and the new power loss in the line.

## Slide 54: Solution (continued)
d)