## Overview
Request
Unit | TPSSIE
Name
PPMS Number
Date | 2025-09-18
Analysis | Carbon analyser
Report
Technician | Karine Vernez Thomas
Date | 2025-09-24
Signature
Unit head | Florian Breider
Date | 2025-09-29
Signature
Estimated cost
Analytical Instrument | TOC/TN Liquid
Unit Price, CHF/sample | 15
# Samples | 9
Instrument Cost, CHF | 135
Description
Material Cost, CHF | 0
Description
Unit Price, CHF/hr | 70
Technician time, hr
Service Cost, CHF | 0
Description
Total Cost, CHF | 135

## Results
No | Sample Nr. | TOC | DOC
|  | [mg/L] | [mg/L] | [mg/L] | [mg/L] | [mg/L]
1 | 1M | 0.97943 | 0.89185
2 | 1M | 0.83302 | 0.87514
3 | 2M | 0.9079 | 0.89118
4 | 2M | 0.9079 | 0.89252
5 | 4.1M | 1.0984 | 1.0516
6 | 4.1M | 0.98745 | 1.0717
7 | 4.2M | 0.87714 | 0.84639
8 | 4.2M | 0.86712 | 0.85709
9 | 5M | 1.0844 | 1.0055
10 | 5M | 1.0697 | 1.0149
11 | 6.1C | 0.52951 | 0.59436
12 | 6.1C | 0.75079 | 0.64717
13 | 7.1S | 0.76216 | 0.78957
14 | 7.1S | 0.64049 | 0.78221
15 | 7.2S | 0.53218 | 0.76483
16 | 7.2S | 0.77753 | 0.78489
17 | 8S | 0.40115 | 0.49074
18 | 8S | 0.6231 | 0.51146
LOQ [mg/L] |  | 0.5 | 0.5
The LOQ is recalculated according to the dilution used during sample analysis. LOQ (calibration) X dilution factor. Pay attention to the units.

## QC
Element |  | TOC/DOC
Unit |  | [mg/l] | [mg/l] | [mg/l] | [mg/l] | [mg/l] | [mg/l] | [mg/l] | [mg/l] | [mg/l] | [mg/l]
CTRL #REF |  | 2.9586
LOQ Method |  | 0.5
Blank | 1 | <0.5
| 1 | <0.5
| 2 | <0.5
| 2 | <0.5
3
3
CTRL | 1 | 2.8393
| 1 | 2.7878
| 2 | 2.9663
| 2 | 2.9456
3
3
Recovery | 1 | 95.97% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 1 | 94.23% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 2 | 100.3% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 2 | 99.56% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 3 | 0% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 3 | 0% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
SD |  | 0.085277 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD [%] |  | 2.956% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Costs
Material Costs
Material | Unit Cost, CHF | # samples |  | Cost, CHF
0
|  |  | Total Material Cost, CHF | 0