Antimicrobial testing (Kirby-Bauer disc diffusion test)

- Prepare bacterial suspension:

  - Fill the 15 mL falcon tube with 3 mL of sterile PBS.

  - Pick a colony of the tested bacterial strain and resuspend it in PBS.

  - Measure optical density (OD) using a spectrophotometer. The aim is to reach the OD of the McFarland 0.5 standard.

  - Add more colonies if needed. Resuspend thoroughly before measuring OD.

- Inoculate plate:

  - Immerse a sterile swab into the bacterial suspension and saturate it.

  - Press the swab against the inside of the tube to remove the excess of the bacterial suspension.

  - Inoculate the surface of the R2A plate using the swab. Cover the entire surface of the plate. Don’t forget to rotate the swab to evenly distribute bacteria

  - After the entire surface has been inoculated once, rotate the plate 60° and repeat the swabbing (without putting back the swab into the bacterial suspension).

  - Repeat step 4.

  - Allow the plate to sit up for 10 minutes before placing the discs.

- Place the discs:

  - Using sterile forceps, take the antimicrobial disc from the cartridge.

  - Place the disc on the surface of the agar and gently press on the centre of the disc.

  - Sterilize the forceps and repeat steps 1 and 2 to apply the next disc.

  - Let the plate sit up for 10-15 minutes.

- Incubate plates inverted at room temperature.