Soil ion measurements (Imacimus10 ion analyzer)

Sample preparation:

- Weigh approx. 1 g of soil into a beaker – note down the exact weight!

- Add exactly 30 mL deionized water to the soil and mix thoroughly

- Let the soil sediment for a few minutes

- Decant the supernatant into the analysis jar and avoid any soil carryover.

Ion measurements with Imacimus10 probe:

- Place both probes (ion and pH) into the analysis jar so that they are covered with liquid and don’t catch any air bubbles

- Start the measurement in the Imacimus software by pressing the blue start button

- Let the probe be submerged for approx. 2 min until the measurement is completed

- Edit your sample name for saving in the software

- Remove the probes carefully from the analysis jar

- Rinse the probes with deionized water, tap dry with tissue paper and place in conditioning solution

Calculation of ions in your soil sample:

- Soil ion concentrations (mgg)=Ion concentration mgL*water volume Lsoil weight (g)

- Example:

- Soil Na concentration mgg=110 mgL*0.03 L1.256 g=4.1448