## Slide 1: MICRO-428
Nanoscale metrology – Part 1: Atomic force microscopy
Georg E. Fantner
Laboratory for Bio- and Nano- Instrumentation
MT - 428 / METROLOGY

## Slide 2: Why we need nanoscale microscopy

## Slide 3
Red blood cells
(~7-8 mm)
Things Natural
Things Manmade
Fly ash
~ 10-20 mm
Head of a pin
1-2 mm
Quantum corral of 48 iron atoms on copper surface
positioned one at a time with an STM tip
Corral diameter 14 nm
Human hair
~ 60-120 mm wide
Ant
~ 5 mm
Dust mite
200 mm
ATP synthase
~10 nm diameter
Nanotube electrode
Carbon nanotube
~1.3 nm diameter
The Challenge
Fabricate and combine nanoscale building blocks to make useful devices, e.g., a photosynthetic reaction center with integral semiconductor storage.
Microworld
0.1 nm
1 nanometer (nm)
0.01 mm
10 nm
0.1 mm
100 nm
1 micrometer (mm)
0.01 mm
10 mm
0.1 mm
100 mm
1 millimeter (mm)
1 cm
10 mm
10-2 m
10-3 m
10-4 m
10-5 m
10-6 m
10-7 m
10-8 m
10-9 m
10-10 m
Visible
Nanoworld
1,000 nanometers =
Infrared
Ultraviolet
Microwave
Soft x-ray
1,000,000 nanometers =
Zone plate x-ray “lens” Outer ring spacing ~35 nm
Office of Basic Energy Sciences
Office of Science, U.S. DOE
Version 05-26-06, pmd
The Scale of Things – Nanometers and More
MicroElectroMechanical (MEMS) devices
10 -100 mm wide
Red blood cells
Pollen grain
Carbon buckyball
~1 nm diameter
Self-assembled,
Nature-inspired structure Many 10s of nm
Atoms of silicon
spacing 0.078 nm
DNA
~2-1/2 nm diameter

## Slide 4: Introduction to Optical Microscopy and imaging systems
Ray optics
Image construction
Diffraction
Microscope design (infinity microscopes)
Resolution, spatial frequencies
Imaging modes:
  Bright-field
  Dark field
  Phase contrast
  Differential interference contrast (DIC)
  Fluorescence
Super resolution optical microscopy
  Structured illumination microscopy
  Single molecule localization microscope (PALM/STORM)
  Stimmulated emmission depletion microscopy

## Slide 5: Atomic Force Microscopy
Scanning tunnelling microscopy (STM)
Components of an Atomic force microscopy
  Optical beam detection
  Piezos & hysteresis
  Feedback
AFM modes:
  Force spectroscopy
  Contact mode
  Tapping mode & phase imaging
  Non-contact mode
  Off-resonance mode
AFM cantilever
Image resolution and artefacts

## Slide 6: Electron Microscopy
Components of electron microscopes:
  Electron sources
  Electrostatic lenses
  Electron detectors
Electron/matter interactions
Transmission electron microscopes
Scanning electron microscopes
Sample preparation for EM
EM resolution
X-ray analysis
EM artifacts
Focussed Ion Beam (FIB)
Correlated microscopy