TP H : ISFET

Questions:

- What is the operating principle of FET-based biosensors and how are they typically fabricated?

- What are the advantages and disadvantages of using an ISFET chip pH sensor instead of glass electrodes?

- What are the applications of ISFET biosensors?

- What is the theoretical sensitivity of ISFET? What parameter of a sensing part determines the sensitivity of a pH ISFET? How can the sensor sensitivity be made close to the ideal one?

- What is the role of support material and reference electrode?

- How is an Ag/AgCl reference electrode made by means of electrolysis of a Pt wire in a solution containing Cl?

- How does the hydrogen ion interact with the sensing part of a pH ISFET?