## Slide 1: Advanced biomedical imaging methods and instrumentation
Lecture 5
Principles of image encoding
Antoine Lutti
Laboratory for Neuroimaging Research, Lausanne University Hospital

## Slide 2: Origin of the MRI signal
Magnetic field B0 = 0
https://www.cis.rit.edu/htbooks/nmr/chap-3/chap-3.htm
receiver coil
Net magnetization:

## Slide 3: Origin of the MRI signal
M0
B0
γ: gyromagnetic ratio
B0: field strength
Magnetic field B0 ≠ 0
receiver coil
Net magnetization:
https://www.cis.rit.edu/htbooks/nmr/chap-3/chap-3.htm

## Slide 4: Hardware
B0
B0
In human MRI systems, B0 is oriented along the main direction of the bore
The static magnetic field B0 is generated by a superconducting magnet

## Slide 5: MRI signal detection
B0
M0
B0
Radio Frequency excitation
B0
M0
Radio Frequency (RF) excitation flips the magnetization in the transverse plane

## Slide 6: MRI signal detection
B0
receive coil
Precession of the magnetization induces an electrical current in the receiver coil. ‘Larmor’ precession frequency:

## Slide 7
Principles of image formation
B0
?? image formation ??
Uniform B0
x
B(x)=B0

## Slide 8
Principles of image formation
Image formation requires gradients of magnetic field (G)
x
Gx
Larmor frequency
Magnetic field

## Slide 9: Hardware
The gradients’ amplitude and timing are driven in real-time by the MRI scanner during image acquisition
Gradients of magnetic fields are generated by dedicated coils

## Slide 10
Principles of image formation
x
Gx
Image formation requires gradients of magnetic field (G)
Magnetic field
Larmor frequency
Image
≡ distribution of signal intensities across the image

## Slide 11
x
http://fr.depositphotos.com/4901723/stock-illustration-Opera-singer.html
B=B0
z
y
x
Opera
MRI
w(x) = w0
Principles of image formation

## Slide 12
http://fr.depositphotos.com/4901723/stock-illustration-Opera-singer.html
Opera
MRI
Principles of image formation
x
G
B=B0+Gx
z
y
x
w(x) = w0+g*G*x
Image
≡ distribution of signal intensities across the image

## Slide 13
Gx
G modulates the phase of the magnetization across the field of view
Image encoding combines data acquisition with an encoding gradient
Gx
RF
Excitation
≡ distribution of signal intensities across the images
receiver coil
Components of the magnetization

## Slide 14
Gx
ADC (RF)
Excitation
d2
G
Gx
ADC (RF)
Excitation
d1
G
with
≡ ‘accumulated phase’ induced by gradient time course ([k]=mm-1)
Gx
RF
Excitation
K-space

## Slide 15
Phase modulation
x/y components
Gx
Gx
Gx
RF
dt
Data point #2
Gx
RF
dt
2*dt
Data point #1
Gx
RF
dt
K-space

## Slide 16
*
Image
=
Fourier Transform (e-iF)
Gx
RF
dt
Raw data
K-space

## Slide 17: Image reconstruction
*
1D Image
=
Fourier Transform (eiF)
Raw data

## Slide 18: Recap
The Fourier Transform governs the relationship between the raw k-space data and its image space
Gx
Gradients of magnetic fields modulate the phase of the magnetization
*
Image
=
Fourier Transform (e-iF)
Raw data
≡ ‘accumulated phase’ induced by gradient time course ([k]=mm-1)

## Slide 19
=
FT
RF
Excitation
Gx
dt
(‘echo time’)
Small kx ≡ ‘low spatial frequencies’
High kx ≡ ‘high spatial frequencies’

## Slide 20
object
sampled k-space
reconstructed
512x512
512x512
kx
ky
kx
ky
x
y
x
y

## Slide 21: A basic MRI sequence
2D Image
B0
Gx
RF
readout
Excitation
??
1D image

## Slide 22: Slice-selective excitation
Slice-selective RF pulse
Slice-selective gradient (Gz)
Slice-selective RF pulse
Slice-selective gradient (Gz)
Slice-selective excitation
Bandwith

## Slide 23
2D Image encoding
Gradient-recalled (‘GRE’) sequence
Echo time TE:
with
RF
Slice-selective excitation
Gy
Gx
0
TE
Gz
Readout gradient
‘Phase’ gradient
0
0

## Slide 24
RF
readout
Excitation
Gy
Gx
0
Readout gradient
‘Phase’ gradient
2D Image encoding
Gradient-recalled (‘GRE’) sequence

## Slide 25
RF
t=0
t=0
t=0
2D FT
y
x
Read
Phase
TR
TR
TR
TR – repetition time
Readout gradient
‘Phase’ gradient
2D Image encoding
Gradient-recalled (‘GRE’) sequence

## Slide 26
Repetition of data acquisition for a given slice can be interleaved with data acquisition from other slices
RF
Gx
Gy
t=0
TR
slice #1
slice #2
slice #1
slice #2
TReffective = Nslices * TR
Enhanced T2 –weighted image contrast, reduced T1 –weighted image contrast
https://case.edu/med/neurology/NR/MRI%20Basics.htm
Slice-selective excitation
~large slice thickness, imperfect slice profile
2D Image encoding
Gradient-recalled (‘GRE’) sequence

## Slide 27
Direction #2 (y)
Direction #3 (z)
Ny
Nz
Readout direction(x)
RF
TR
MRI signal is acquired from a 3D volume during all the acquisition
High SNR
Increased motion sensitivity
NO slice-selective excitation
Improved anatomical accuracy
3D Image encoding
Gradient-recalled (‘GRE’) sequence

## Slide 28
high imaging speed
Example applications
  Functional imaging (fMRI)
  Variation of signal intensities across repetitions ~ brain activation
  Diffusion-weighted imaging
  Variation of signal intensities across repetitions ~ fiber (orientation, diameter,…)
Echo Planar Imaging (EPI)

## Slide 29
RF
read
phase
Echo Planar Imaging (EPI)
Gx
Readout gradient
Gy
‘Phase’ gradient
readout

## Slide 30
RF
read
phase
‘Blips’ along phase (y) directions incrementally vary the modulation of the true signal distributions
Echo Planar Imaging (EPI)
Gx
Readout gradient
Gy
‘Phase’ gradient

## Slide 31
RF
read
phase
EPI : whole 2D plane (slice) acquired following one RF excitation - FAST
TE
TE – echo time
Echo Planar Imaging (EPI)
Gx
Readout gradient
Gy
‘Phase’ gradient

## Slide 32
t
RF
2D Image
TR
RF
TR
RF
TR
RF
TRvolume = Nslices x TR
TR~ 50-100ms
Echo Planar Imaging (EPI)

## Slide 33: EPI limitations
Readout direction
Phase direction
Tacq ~ 1ms
Bandwidth ~1000Hz
Tacq ~ Nvoxels*1ms
Bandwidth ~50Hz
RF
Readout
‘Phase’

## Slide 34: EPI limitations Image distortions
x
Gx
Magnetic field
Larmor frequency
Image
REMINDER

## Slide 35: EPI limitations Image distortions
w(x)=g*(B0+B(x) + Bsusc(x))
B0 inhomogeneities at air/tissue interface
Bsusc (Hz)
150
-100

## Slide 36: EPI limitations Image distortions
Hutton et al, 2002, Neuroimage
Distortion correction techniques
Bsusc (Hz)
150
-100
Fieldmap-based
corrected
blip-up
blip-down
Andersson et al, 2003, Neuroimage
Readout direction
Phase direction
Bandwidth ~1000Hz
Bandwidth ~50Hz
Image distorsions along the phase-encode direction

## Slide 37
M0
RF
M0
M0
After RF excitation M0 returns to its initial state (equilibrium)
Image contrast
Return to equilibrium

## Slide 38
t
RF
M0
Ml
Mt
Ml
Ml
Equilibrium
Equilibrium
M0
Image contrast
Return to equilibrium

## Slide 39
t
RF
M0
Ml
Mt
T2
T1
Following RF excitation M0:
- Longitudinal component of M0 increases. Recovery time T1
- Transverse component of M0 decreases. Decay time T2
Image contrast
Return to equilibrium

## Slide 40: T2* image contrast
T2
TE
TE: echo time
RF
Signal intensity decreases with increasing echo time

## Slide 41
TE << T2
proton density-weighted image
TE
RF
TE ~ T2
T2-weighted image
Image contrast is TE-dependent
T2* image contrast

## Slide 42
Caudate Nucleus / GM
(T2=100ms)
CSF
(T2=2000ms)
Corpus Callosum / WM
(T2=90ms)
37%
100%
Mxy
time
CSF
WM
GM
T2,CSF>T2,GM/WM => On T2-weighted images, CSF appears bright
WM and GM have similar T2 values => low WM/GM contrast in T2-weighted images
T2* image contrast

## Slide 43: Longitudinal relaxation
Return to equilibrium:
Increase of longitudinal component time constant T1
t
RF
M0
Ml
Mt
T1
REMINDER

## Slide 44: Longitudinal relaxation
t
RF
RF
T1 relaxation during TR governs amount of magnetization available for next excitation
RF
Image
Image
A simple imaging acquisition:
TR
TR
T1
T1

## Slide 45: Longitudinal relaxation
WM
GM
CSF
T1 differences between brain tissues yield image contrast in anatomical imaging

## Slide 46: PD contrast – long TR
TR >> T1:
  All tissues fully relax
    No T1w contrast
  Image contrast: water density
  PDw contrast
Inconveniences:
  Very time consuming
  Fairly poor GM/WM contrast
WM
GM
CSF

## Slide 47: T1 contrast – short TR
47
WM
GM
CSF
Frahm J. et al. MRM 1986
TR<<T1
Optimal GM/WM contrast
Generally preferred for anatomical imaging

## Slide 48: T1 contrast – short TR
t
RF (a)
RF (a)
TR
TR=20ms
a=6o
PDw
a=20o
T1w
WM
GM
CSF
At short TR, image contrast depends on nominal flip angle of RF excitation

## Slide 49: Conclusions Principles of image encoding
Slides: José Marques, Nicolas Kunz, Assaf Tal, Mor-Miri Mishkovsky
Gx
The role of image encoding gradients
*
Image
=
Raw data
K-space and Fourier Transform

## Slide 50: Conclusions
Slides: José Marques, Nicolas Kunz, Assaf Tal, Mor-Miri Mishkovsky
Direction #2 (y)
Direction #3 (z)
Ny
Nz
Readout direction(x)
RF
TR
Gradient-recalled (‘GRE’) sequence
Image contrast
T2-weighted image
T1-weighted image
PD-weighted image