## Mobility
Record here your typical commute (return trip)
use mobitool.ch
enter data in colored cells
number of days present on campus for TP
number of days present on campus (two semesters)
[5 empty] | only TP sessions | two semesters
Group ID | km/day | type | gCO2eq/trip | kgCO2eq/trip | kgCO2eq/yr | kgCO2eq/yr
teacher | 4 | bike | 22.3
assistant 1
assistant 2
assistant 3
assistant 4
assistant 5
assistant 6
assistant 7
assistant 8
assistant 9
assistant 10
Group A01
Group A01
Group A01
Group A02
Group A02
Group A02
Group A03
Group A03
Group A03
Group A04
Group A04
Group A04
Group A05
Group A05
Group A05
Group A06
Group A06
Group A06
Group A07
Group A07
Group A07
Group A08
Group A08
Group A08
Group A09
Group A09
Group A09
Group A10
Group A10
Group A10
Group A11
Group A11
Group A11
Group A12
Group A12
Group A12
Group A12
Group A13
Group A13
Group A13
Group A14
Group A14
Group A14
Group B01
Group B01
Group B01
Group B02
Group B02
Group B02
Group B03
Group B03
Group B03
Group B04
Group B04
Group B04
Group B05
Group B05
Group B06
Group B06
Group B06
Group B07
Group B07
Group B07
Group B08
Group B08
Group B08
Group B09
Group B09
Group B09
Group B10
Group B10
Group B10
Group B11
Group B11
Group B11
Group B12
Group B12
Group B12
Group B13
Group B13
Group B13
Group B14
Group B14
Group B14
Group B15
Group B15
Group B15
Group B16
Group B16
Group B16
Group C01
Group C01
Group C01
Group C02
Group C02
Group C02
Group C03
Group C03
Group C03
Group C04
Group C04
Group C04
Group C05
Group C05
Group C05
Group C06
Group C06
Group C06
Group C07
Group C07
Group C07
Group C08
Group C08
Group C08
Group C09
Group C09
Group C09
Group C10
Group C10
Group C10
Group C11
Group C11
Group C11
Group C12
Group C12
Group C12
Group C13
Group C13
Group C13
Group C14
Group C14
Group C14
Group C15
Group C15
Group C15
Group B16
Group B16
Group B16
Group D01
Group D01
Group D01
Group D02
Group D02
Group D02
Group D03
Group D03
Group D03
Group D04
Group D04
Group D04
Group D05
Group D05
Group D05
Group D06
Group D06
Group D06
Group D07
Group D07
Group D07
Group D08
Group D08
Group D08
Group D09
Group D09
Group D09
Group D10
Group D10
Group D10
Group D11
Group D11
Group D11
Group D12
Group D12
Group D12
Group D13
Group D13
Group D13
Group D14
Group D14
Group D14

## Food
Food habits for meals on campus (purchased or homemade). Consider a typical week during the semester.
enter data in colored cells
emission factors | vegetarian | 1.63 | kgCO2eq/meal
| omnivore | 3.95 | kgCO2eq/meal
[5 empty] | only TP sessions | full semester
Group ID | days/week | vegetarian | omnivore | kgCO2eq/week | kgCO2eq/yr | kgCO2eq/yr
teacher | 5 | 4 | 1 | 10.47 |  | 492.09
assistant 1
assistant 2
assistant 3
assistant 4
assistant 5
assistant 6
assistant 7
assistant 8
assistant 9
assistant 10
Group A01
Group A01
Group A01
Group A02
Group A02
Group A02
Group A03
Group A03
Group A03
Group A04
Group A04
Group A04
Group A05
Group A05
Group A05
Group A06
Group A06
Group A06
Group A07
Group A07
Group A07
Group A08
Group A08
Group A08
Group A09
Group A09
Group A09
Group A10
Group A10
Group A10
Group A11
Group A11
Group A11
Group A12
Group A12
Group A12
Group A12
Group A13
Group A13
Group A13
Group A14
Group A14
Group A14
Group B01
Group B01
Group B01
Group B02
Group B02
Group B02
Group B03
Group B03
Group B03
Group B04
Group B04
Group B04
Group B05
Group B05
Group B06
Group B06
Group B06
Group B07
Group B07
Group B07
Group B08
Group B08
Group B08
Group B09
Group B09
Group B09
Group B10
Group B10
Group B10
Group B11
Group B11
Group B11
Group B12
Group B12
Group B12
Group B13
Group B13
Group B13
Group B14
Group B14
Group B14
Group B15
Group B15
Group B15
Group B16
Group B16
Group B16
Group C01
Group C01
Group C01
Group C02
Group C02
Group C02
Group C03
Group C03
Group C03
Group C04
Group C04
Group C04
Group C05
Group C05
Group C05
Group C06
Group C06
Group C06
Group C07
Group C07
Group C07
Group C08
Group C08
Group C08
Group C09
Group C09
Group C09
Group C10
Group C10
Group C10
Group C11
Group C11
Group C11
Group C12
Group C12
Group C12
Group C13
Group C13
Group C13
Group C14
Group C14
Group C14
Group C15
Group C15
Group C15
Group B16
Group B16
Group B16
Group D01
Group D01
Group D01
Group D02
Group D02
Group D02
Group D03
Group D03
Group D03
Group D04
Group D04
Group D04
Group D05
Group D05
Group D05
Group D06
Group D06
Group D06
Group D07
Group D07
Group D07
Group D08
Group D08
Group D08
Group D09
Group D09
Group D09
Group D10
Group D10
Group D10
Group D11
Group D11
Group D11
Group D12
Group D12
Group D12
Group D13
Group D13
Group D13
Group D14
Group D14
Group D14

## Electricity
This working document was developed at the School of Life Sciences at EPFL (Lausanne). It contains rough estimations and measurements of the electricity consumption of common lab equipement. For more information: sustainability.sv@epfl.ch |  |  | TP | AVERAGE POWER |  | ADDITIONAL INFORMATION on data collection
|  |  |  | ACTIVE USE | STAND-BY
EQUIPMENT |  |  |  | Power (W) | Power (W) | Confidence level | Evaluated models | Comments
ELECTROTECHNICAL AND MECHANICAL DEVICES | Biology lab power supplies |  | x | 100 |  | Rough estimations | - | Very different from one device to another
| Amplifiers |  |  | 20 | 5 | Estimations | Multiclamp 700B System, AM System 2100 Amplificateur | Very different from one device to another
| Signal analysis |  |  | 5 |  | Estimations | PCIe-6321 | -
| Signal generators |  |  | 15 | 5 | Estimations | Axon Digidata 1550B plus HumSilencer | -
| Stimulators |  |  | 20 | 10 | Rough estimations | Aversive Stimulation - Med Associates | -
| Oscilloscopes |  |  | 26.5 |  | Measurements | TSD 214B, HM 507 | -
| Gas analysers |  |  | 4.5 | 3 | Rough estimations | - | -
| Pumps | Vaccum mechanical pumps (> 500W) |  | 820 |  | Measurements | Vacuubrand MZ2C | Very different from one device to another
|  | Vaccum diaphragm pumps (< 500W) |  | 85 |  | Measurements | KNF N820.3FT18, KNF N810.3FT19 | Very different from one device to another
|  | Laboratory suction pumps (< 100W) |  | 67 |  | Measurements | Vacusafe confort, KNF PH1839-816.1, Vacuubrand BCV, KNF PH2005-86.18 footswitch | Very different from one device to another
|  | Peristaltic pumps |  | 25 |  | Rough estimations | - | Very different from one device to another
|  | Syringe pumps and injectors |  | 25 |  | Estimations | PHD ULTRA | Very different from one device to another
| 3D printers |  |  | 85 | 7 | Measurements | 3D Creality | Very different from one device to another
| Drillers |  |  | 720 |  | Estimations | ACIERA 22VA | Very different from one device to another
STERILISATION, WASHING, AND SAFETY EQUIPMENT | Plate washers |  |  | 30 | 10 | Estimations | Wellwash Versa 96 - | -
| Ultrasound baths |  |  | 155 | 0.3 | Measurements | Branson RK 255S, DT 100H | Very different from one device to another
| Water purifiers |  |  | 73 | 34 | Measurements | Evoqua Ultraclear | -
| Laminar flow hoods | Old 180cm laminar flow hoods (>15yo) | x | 900 | 20 | Measurements | NU 440-600E | -
|  | Old 120cm laminar flow hoods (>15yo) | x | 490 | 8 | Measurements | NU 440-600E | -
|  | Recent 180cm laminar flow hoods (<15yo) | x (DLL) | 290 | 13 | Measurements | Scanlaf 1800 | -
|  | Recent 150cm laminar flow hoods (<15yo) | x (DLL) | 177 | 7.3 | Measurements | Faster premium 215 | -
AGITATORS, CENTRIFUGES | Agitators | Simple agitators/incubators |  | 83 | 11.5 | Measurements | Multitron, ISF1-X | -
|  | Bench agitators (vortex, rockers, platforms, magnetic agitators, thermomixers…) | x | 28 | 1.5 | Measurements | Unimax 2010, Vortex VTX 3000L, Rotator SB3, Thermomixer compact, Roller mixer SRT6, Thermo Shaker | -
| Centrifuges | Ultra centrifuges |  | 1300 | 130 | Measurements | Optima XL-80k, Optima L100XP | -
|  | High-speed floor-standing centrifuges |  | 2200 | 110 | Measurements | Evolution RC, J26XP | Very different from one device to another
|  | Large refrigerated bench top centrifuges |  | 613 | 15 | Measurements | XR4 Pro, 5810 R, Multifuge 3 SR | -
|  | Large bench top centrifuges |  | 180 | 30 | Measurements | 5810 | -
|  | 1.5mL refrigerated bench top centrifuges |  | 287 | 6.7 | Measurements | 5415 R, 5424 R, Biofuge freco | -
|  | 1.5mL bench top centrifuges | x | 136 | 2 | Measurements | 5424 | -
|  | Mini centrifuges | x | 56 | 3.6 | Measurements | Minispin, Thermo Espresso, Labnet C1301 | Very different from one device to another
| Sonicators, homogenizers |  |  | 100 | 35 | Measurements | Branson digital sonifier | Very different from one device to another
| Emulsiflexes |  |  | 150 | 10 | Estimations | EmulsiFlex-C3 | -
COOLING DEVICES | Cryostats |  |  | 718 | 500 | Measurements | Leica CM 3050 | -
| Freezers | Old -80°C freezers (>12yo) | x | 1125 |  | Measurements | Thermo Forma Serie 900, 88400V, 88600V | Very different from one device to another, should be evaluated on a case-by-case basis
|  | Recent -80°C freezers (<12yo) |  | 478 |  | Measurements | Eppendorf Cryocube F570 h, F740 h, F740 h, F 740hi, FC 660 h, Stirling SU780XLE, Panasonic /PHCB MDF-DU702VH-PE VIP ECO, MDF-DU702VH-PE VIP ECO, MDF-DU502VH-PE VIP ECO, Thermo Revco TSX600V | -
|  | Small +4°C or -20°C freezers (< 150L) | x | 25 |  | Measurements | Liebherr FKS 1800, KTE 1544, KTP 1750, GP 1456 , GP 1466,… | -
|  | Big +4°C or -20°C freezers (> 150L) | x | 75 |  | Measurements | Liebherr FKS 5000, FKV 5440, FKV 3600, GG 5203, GG 5210,… | -
| Refrigerated display cabinets (fixed or mobile, 1-2m3) |  |  | 234 |  | Measurements | - | -
| Refrigerated incubators |  |  | 96 |  | Measurements | Aqualitic AL 185, Memmert IPP 500 | Very different from one device to another
| Cryogenics |  |  | 9.5 |  | Measurements | CBS 3000, ARPEGE 170 automatic | -
| Refrigerated baths, chillers |  |  | 330 |  | Measurements | Julabo ED F12 | Very different from one device to another
| Ice machines |  | x | 147 |  | Measurements | SLT 290A, GB 902 A, MF30AS-F | Very different from one device to another
HEATING DEVICES | Drying ovens |  |  | 220 | 1.4 | Measurements | Salvis TC 400 | Very different from one device to another
| Lab ovens |  |  | 70 |  | Measurements | Thermo HBSNSR220, HB 1D | Very different from one device to another
| Microwaves |  |  | 1492 | 2.1 | Measurements | AVM 571/WP/WH, Fust Primotec MW 1917, Easytronic | -
| Gel dryers |  |  | 260 | 4 | Measurements | Biorad 583 | -
| 30 to 37°C incubators |  | x | 21 |  | Measurements | INB 500 | -
| CO2 incubators |  | x | 59 |  | Measurements | Heracell 150, Thermo Vios, PHCBI MCO-170 | -
| Water-baths, bead-baths, dry-baths |  |  | 46 |  | Measurements | JBN 12, SBH 130D | -
| Agitation heating plates |  |  | 78 |  | Measurements | HeatStir SB 162 | -
MEASUREMENT AND ANALYSIS EQUIPMENT | Scales, Ph meters |  | x | 2 | 1.4 | Measurements | TE 2101, TE 214 S | -
| Cell counters |  |  | 10 |  | Measurements | Countess II | -
| Cytometers (standard models) |  |  | 720 |  | Estimations | BC Gallios, CytekTM Aurora 51, Sony SH800 | Very different from one device to another
| EEG /ECG / EMG |  |  | 25 |  | Rough estimations | - | -
| PCR |  | x | 118 | 15.4 | Measurements | Mastercycle EP Eppendorf T1 Thermoblock, T gradient, Tone 96G, Trio 48 touch, C1000 Thermocycler | -
| QPCR |  |  | 368 | 113 | Measurements | QuantStudio | Very different from one device to another
| Sequencers |  |  | 15 |  | Rough estimations | 4200 TapeStation, Minion GECF | Very different from one device to another
| Chromatographs | FPLC |  | 45 |  | Estimations | Système FPLC AKTA PRIME plus | -
|  | HPLC |  | 150 |  | Estimations | ÄKTA pure | -
| Diffractometers |  |  | 25 | 5 | Rough estimations | - | -
| Spectrometers |  |  | 2500 |  | Estimations | MALDI-TOF/TOF 4800, Orbitrap Elite, Orbitrap Q-Exactive, Orbitrap Fusion Lumo | -
| Spectrophotometers, fluorimeters, luminometers |  | x | 22 | 12.8 | Measurements | NanodropOne, Biochrom Libra | -
| Imaging systems, geldocs |  | x | 119 | 2.1 | Measurements | Fusion solo 4M, Fusion solo S, BioDoc it | -
| Plate readers |  | x | 60 | 24 | Measurements | Biotrack II | -
LASER, LIGHT AND UV EMITTERS | Lasers |  |  | 150 |  | Rough estimations | - | Very different from one device to another
| Light sources for microscope |  |  | 115 |  | Measurements | Leica CLS100X | Very different from one device to another
| Insect UV lights |  |  | 71 |  | Measurements | PestWest NEMESIS QUATTRO IP | -
| UV irradiators |  |  | 50 |  | Rough estimations | - | -
MICROSCOPES | Laser-scanning microscope |  |  | 800 | 400 | Estimations | ZEISS LSM 980 with Airyscan 2 | -
| AFM microscope |  |  | 150 | 0.6 | Rough estimations | - | Very different from one device to another
| Optical microscope | Average confocal microscopes |  | 480 | 380 | Measurements | Leica SP8 | Very different from one device to another
|  | Microscopes with incubation chamber |  | 802 | 6 | Measurements | Olympus IX 81 in-vivo | Very different from one device to another
|  | FL microscopes | x | 150 | 0.6 | Measurements | CKX 41 | Very different from one device to another
|  | FL microscope + camera + laptop | x (DLL) | 220 | 4.5 | Measurements | Axiowert 100TV | -
|  | Simple microscopes, reversed microscopes, and binocular lenses,… | x | 28 | 3.1 | Measurements | Leitz Labolux S, Zeiss, Olympus SZX7, Nikon SMZ 800, ML 80CT100, Olympus SZ40 | Very different from one device to another
| Stereo microscopes |  |  | 40 |  | Measurements | Olympus SZX9 | Very different from one device to another
OTHER LAB DEVICES | Microtomes |  |  | 30 |  | Measurements | HM 360 | -
| Micromanipulators |  |  | 120 | 10 | Estimations | Control SM 7 | -
| Coaters |  |  | 120 | 20 | Rough estimations | LabSpin 6 BM | -
| Deposition and engraving systems |  |  | 75 | 10 | Estimations | LINX 8900 | -
| Pipette pullers |  |  | 54 | 10 | Estimations | Sutter P-30 | -
| Pipetting robots |  |  | 150 | 100 | Estimations | Opentrons OT-2 lab robot | Very different from one device to another
| Vacuum chambers |  |  | 100 |  | Rough estimations | - | -
| Transfection systems, electroporators, gene pulsers |  |  | 45 | 35 | Estimations | ECM 830, Neon Transfection System MPK5000, XCELL | -
| Bioruptors |  |  | 50 | 10 | Rough estimations | - | -
| Crushers |  |  | 75 | 10 | Estimations | Tissuelyser II QIAGEN | -
| Lyophilisators | Speed vacuum concentrators |  | 713 | 15 | Measurements | Eppendorf concentrator 5301, NB503 CIR, Christ 1-4 | Very different from one device to another
|  | Lyophilisator (> 1kW) |  | 1840 |  | Measurements | Christ 1-2 LD | Very different from one device to another
| Evaporators | Vacuum evaporators |  | 200 |  | Estimations | Biotage SPE Dry 96 Sample Concentrator S | Very different from one device to another
|  | Rotary vacuum evaporators |  | 50 |  | Rough estimations | BUCHI Rotavapor R-300 | Very different from one device to another
IT EQUIPMENT | Servers |  | x | 160 | 30 | Estimations | QNAP QSW-1208-8C, RS3617RPxs, PowerEdge R840 | Very different from one device to another
| Desktops |  | x | 90 | 13.6 | Measurements | Optpilplex 7050, average economical desktop, average multimedia desktop | -
| Laptops |  | x | 30.024 | 6.6 | Measurements | Dell Inspiron, Dell, average laptop, average eco laptop, average big laptop | -
| Monitors, screens |  | x | 43 | 5 | Measurements | - | -
| Printers |  | x | 800 | 15 | Measurements | HP Color LaserJet MFPM477, Canon Secure Print Color | -
| Scanners |  |  | 20 | 10 | Estimations | Epson Perfection V800, Scanner Honeywell Xenon 1900 | -
| Landline telephones |  | x | 5 | 3 | Rough estimations | Cisco IP Phone 8865NR | -
| Beamers |  | x | 300 | 3 | Estimations | Projecteur WUXGA | -
| Cameras |  |  | 2.5 | 2.5 | Estimations | - | -
| Videoconferencing equipment |  |  | 28.5714 | 3 | Estimations | Cisco SX80, logitech group, CISCO Webex™ Room Kit Plus | -
INFRASTRUCTURE AND PLATEFORM EQUIPEMENT | Ceiling lights |  | x | 30 |  | Estimations | -
| Autoclaves | Bench top autoclaves |  | 573 | 24 | Measurements | Zirbus Labstar 25 | Very different from one device to another
|  | Autoclaves (150 L) |  | 2000 | 350 | Measurements | Fedegari FOB3 | -
| Washers |  |  | 4200 | 50 | Measurements | Getinge Serie 86 | Very different from one device to another
| Cold rooms (20m2) |  |  | 623 |  | Measurements | - | -
| Climate chambers |  |  | 100 |  | Rough estimations | - | -
| Distillation equipment |  |  | 5600 |  | Measurements | Heraeus BE18, Aquatron | -
| Animal facility ventilation motors |  |  | 110 |  | Rough estimations | Tecniplast , blueline greenline et smartflow | Very different from one device to another
| Euthanasia boxes |  |  | 5 |  | Rough estimations | - | -
| O2 concentrator generators |  |  | 290 |  | Estimations | Rothacher Medical GmbH COMBI-VET | -