## Slide 1
CHAPTER 1: https://medium.com/advances-in-biological-science/nuclear-magnetic-resonance-spectroscopy-the-overlooked-powerhouse-of-biology-chapter-1-7b3d74dad714
CHAPTER 2: https://medium.com/advances-in-biological-science/nuclear-magnetic-resonance-spectroscopy-the-overlooked-powerhouse-of-biology-chapter-2-f1e80e7a4b3
CHAPTER 3: https://lucianosphere.medium.com/nuclear-magnetic-resonance-spectroscopy-the-overlooked-powerhouse-of-biology-chapter-3-5fed9865afce
CHAPTERS 4 & 5: COMING SOON
These classes are not at all deep (whole courses can be done dedicated to different sub-fields of NMR spectroscopy)…
… but neither are them too shallow: I try to balance practical applications with giving you some basic theoretical concepts.
NEW IN 2024: Blog posts with a written form of everything I tell you here
PREVIOUS + THIS WEEK:
Nuclear Magnetic Resonance (NMR) spectroscopy
applied to Structural Biology
Luciano Abriata – Lab. for Biomol Model. / PTPSP facility / NMR facility

## Slide 2
CLASS 1
Intro to Nuclear Magnetic Resonance
Main features of a signal (chemical shift, couplings, relaxation)
How chemical shifts and couplings relate to structure
Importance of labeling with 13C and 15N and of 2D/3D spectra
---
CLASS 2 (today): More exotic bio-NMR: ligand screening, protein dynamics, disordered proteins, biochemistry at atomic level
Practical: Interpreting the results of a protein-protein titration

## Slide 3
Part 1
Recap of key concepts

## Slide 4
Bo
Recap 1 of 4
1H 13C 15N 31P

## Slide 5
  To improve signal/noise:
  Use concentrated samples
  VERY strong magnetic field: 10s of Tesla
  Use nuclei with large g 1H > 13C > 15N
  May need to enrich: 1H almost 100%, 13C and 15N ~ 1%
  Average signals many times  long experiments (days!)
  Protein stable and unchanged for experiment time
ΔE is small so NMR has low sensitivity!
Recap 2 of 4

## Slide 6
Each nucleus has its main frequency, whose exact value depends on its chemical environment: CHEMICAL SHIFT
Nuclei are “coupled” through bonds and space: COUPLINGS
Excited nuclei relax through processes regulated by their motions  RELAXATION
The 3 main signal features that are sensitive to structure and motions
One nucleus
One signal (or “resonance”)
Recap 3 of 4

## Slide 7
A very important 2D spectrum: 1H-15N HSQC
2D 15N / 1H correlation through a single bond,
One 15N-1H per residue
-15N - Ca- CO -15N - Ca
H
R
R
H
90Hz
(13C,15N…)
1/J
X evolution
(frec for indirect dimension)
INEPT (magn. transfer)
2-5 min in perfect sample (even seconds with special pulse sequence) to a couple of hours for diluted/bad samples
Recap 4 of 4

## Slide 8: Is protein well folded?
15N
1H
Partially folded protein
Well folded protein
F. Sesterhenn , C. Yang, B. Correia

## Slide 9: Effect of mutations without re-solving structure
Blue = wt MIF
Red = N72C/A103C
15N
1H
N. Haj Yahya, H. Lashuel

## Slide 10
Part 2
Relaxation

## Slide 11
Relaxation = How the system relaxes back to equilibrium after it was excited. It is affected by dynamics, which is not only motions but also chemical exchange processes
Happens through many processes (“relaxation pathways”) | The following is an oversimplification to get to the point:
“Direct” relaxation:
  Spin-lattice (“longitudinal”): measured by T1
  Spin-spin (“transverse”): measured by T2
Dipolar couplings: Many pathways, we stay just
with the Heteronuclear NOE
-15N - Ca- CO
H
R
15N relaxes through T1 and T2 in a way that we kind of understand, especially if we also know its heteronuclear relaxation with the attached 1H.
15N T1, 15N T2 , and 1H - 15N NOE combine global rotation and local dynamics
1kDa
15kDa

## Slide 12
-15N - Ca- CO -15N - Ca
H
R
R
H
90Hz
(13C,15N…)
1/J
X evolution
(frec for indirect dimension)
INEPT (magn. transfer)
Measure 15N T1
Measure 15N T2
Measure 1H- 15N NOE (cross relaxation)
Basic HSQC
HSQCs modified to “feel” different kinds of relaxation
Tens more…
Measuring relaxation

## Slide 13
https://en.wikipedia.org/wiki/Relaxation_(NMR)
T1 measurement
T2 measurement
1H-15N NOE measurement
NOE = irr/noirr
 15N relaxation reports on global tumbling + local motions

## Slide 14: Characterizing Protein Dynamics through the most common 15N relaxation parameters
Timescale
Days
Hours
Seconds
ms
μs
ns
ps
Global unfolding
Catalysis
Local unfolding
Overall tumbling
V/Librations
Loop reorientation
S-S flipping
Sidechain reorientation
Aromatic flips
Motions
NMR parameter
/ technique
HN Exchange
T2, T1rho
T1, T2, H,N-NOE
Real-time NMR
Chemical shift
J couplings
RDCs
“ModelFree” formalism
Global contribution to relaxation from global tumbling (τc)
+
Residue-specific
τ + s2 + Rex
ps-ns “motions”
us-ms “motions”
15N
1H

## Slide 15: Characterizing Protein Dynamics
Heteronuclear NOE
High NOE = rigid
Low NOE = ps-ns flexible
Residue number
Deviation from mean structure
Example: is variation real dynamics or due to lack of restraints?
F. Sesterhenn , C. Yang, B. Correia

## Slide 16
Het. NOE
R2/R1
RMSF
IIIDGVPIQGG
R2/R1 on NMR structure
IIIDGVPIQGG
S. Rommelaere, B. Lemaitre

## Slide 17: Crazier studies of Protein Dynamics through 15N relaxation
“Relaxation dispersion” T2
 Can help to “see” “invisible” states
G(round) state E(xcited) state
Kd = koff / kon = Pb / Pa
Kex = kon + koff
Δω = δb – δa  struct info if 13C
Examples:
Solution structure of a minor and transiently formed state of a T4 lysozyme mutant. Nature 2011
Visualizing protein breathing motions associated with aromatic ring flipping. Nature 2022
Structure determination of high-energy states in a dynamic protein ensemble. Nature 2022
A few more… (not easy technique, not many proteins amenable…)

## Slide 18
Residue number
Relaxation dispersion 15N ex.: Gain of slow-timescale dynamics upon evolution

## Slide 19
Part 3
Protein – X interactions

## Slide 20
Protein – X interactions
Especially useful when weak, but also works for strong
Faster yes/no than waiting for a crystal to grow or get soaked
Some structural information
Some information about binding kinetics and thermodynamics
Screening in single experiments
2 main ways to study protein-X interactions by NMR:
1) Look at protein labeled in 15N and/or 13C: titrate with unlabeled partners
2) Look at small molecule ((un)labeled) and what it “feels” when you add protein
Before we see examples…. Understand chemical exchange timescales!

## Slide 21
1) Look at labeled protein (15N and/or 13C) and add unlabeled interactor
Simple titrations where you monitor signal intensities and/or positions (which, depends on affinity and kinetics)
Or more exotic things like measuring T1, T2, NOE and compare w/ and w/o interactor
If binding is very tight, you might see NOEs between the protein and the interactor
Always good to vary: temperature, pH, salt, co-additives, etc. –everything that tunes kinetics

## Slide 22
- 110
- 120
- 130
10
8
6
-
-
-
d1H (ppm)
d15N (ppm)
110 -
120 -
130 -
-
-
-
10
8
6
Free
Bound
M.E. Zaballa, A.J. Vila
Ex 1: Protein – small mol interaction of uM-mM affinity

## Slide 23
Chemical Shift Perturbation (CSP) mapped on the protein sequence
CSP = (Dd(1H)2 + Dd(15N)2/25)1/2 ppm
L3
L7
L10
Ex 1: Protein – small mol interaction of uM-mM affinity

## Slide 24
0
0.3
CSP (ppm)
L10
Ex 1: Protein – small mol interaction of uM-mM affinity
Chemical Shift Perturbation (CSP) mapped on the protein structure
Small molecule docked using CSPs

## Slide 25
Ex 2: Protein – DNA interaction of uM-nM affinity
Peaks move and broaden, then appear somewhere else
N. Odermatt , S. Cole

## Slide 26
Ex 2: Protein – DNA interaction of uM-nM affinity
Peaks move and broaden, then appear somewhere else
Conclusion?
Info mapped on pre-existing structure (PDB 4ITQ) –and here’s something interesting to say
Biological assembly as deposited for PDB 4ITQ
Red: drop in intensity (stronger affinity)
Blue: strong CSPs (lower affinity)
Green: both drop in intensity and shift
(Black = no data (prolines + unassigned)
Copy crystal symmetry (in PyMOL:
symexp sym,4itq,(4itq),3) + superimpose

## Slide 27
From this you can get binding constants
All this is by far much simpler than solving an X-ray structure of the complex
Works even for transient complexes, low affinity, and very flexible systems
For best examples, see papers and reviews by Marcelus Ubbink
https://scholar.google.nl/citations?user=lJXN2LgAAAAJ&hl=en

## Slide 28
2) Look at small molecule ((un)labeled) and
what it “feels” when you add protein
Only mid to weak binding, but each parameter has different sensitivity, so you better try many exps.
Only mid to strong binding, but each parameter has different sensitivity, so same as above
Concept of “lead screening” by NMR: find interacting molecule/s in a soup; then optimize
Diffusion coefficient
T2 (nice!), T1 (not very clear)
Saturation transfer (nice!)
WaterLOGSY (no experience)
etc.
Direct NOE
Chemical shift
etc.
Always good to vary: temperature, pH, salt, co-additives, etc. –everything that tunes kinetics

## Slide 29
Ex 1: Saturation Transfer Difference
Idea: Irradiate protein and see if and which small molecules “respond”
Self-consistent experiment: irradiate on and off resonance.
1mM vanillin + 1mM sucrose + 10 uM BSA (known to bind only vanillin)
Normal 1H spectrum
BSA
STD irr. 0 ppm
STD irr. 0 ppm
+ 400 ms T2 filter
In principle applicable to more complex mixtures too
C. Siri, F. Stellacci

## Slide 30
Ex 2: DOSY (Diffusion-Ordered SpectroscopY) -A.K.A. Pulsed-Field Gradients (you may often find it w/ this name)
log(Diffusion coefficient)
1H chemical shift (ppm)
Water
Vanillin
Sucrose
1mM vanillin + 1mM sucrose
C. Siri, F. Stellacci

## Slide 31
Ex 1: DOSY (Diffusion-Ordered SpectroscopY) -A.K.A. Pulsed-Field Gradients (you may often find it w/ this name)
log(Diffusion coefficient)
1H chemical shift (ppm)
Water
Vanillin
Sucrose unaffected
1mM vanillin + 1mM sucrose + 10 uM BSA (known to bind only vanillin)
No BSA
10uM BSA
Vanillin’s diffusion coefficient ~ 20% lower because it got bound.
 Could be used to screen binders vs. non-binders.
 Could get KD by measuring D at various vanillin & BSA concentrations (low accuracy, though)

## Slide 32: Thank you and remember: NMR is much more than structures
Effects of mutations just by looking at spectra
Interactions with other proteins, XNA or ligands
Screening ligands in mixtures
Dynamics over vast timescales
Residue-specific pH titrations
Water exchange dynamics
Hydrogen bonds
Intrinsically disordered proteins & peptides
Selectively labeled samples –not changing chemistry
Structural biology in vivo, in cells, in lysate, in highly crowded conditions –thanks to isotope enrichment

## Slide 33
Part 4
“Disordered” proteins and peptides

## Slide 34
Unfolded protein ~ Mixture of amino acids if no residual structure is present (“propensities”)
δ 1H (ppm)
Protein folded or not? From inspection of NMR spectra, much more sensitive than CD
Unfolded protein ≠ Molten globule ≠ Folded protein

## Slide 35
A paper exploring disordered vs. molten globules and folded states, and developing on folding mechanisms
https://www.nature.com/articles/nsb0298-148.pdf

## Slide 36
A paper exploring disordered vs. molten globules and folded states, and developing on folding mechanisms
U
I(MG)
N(apo)
N(holo)

## Slide 37
https://www.nature.com/articles/nsb0298-148.pdf

## Slide 38
Peptides and disordered proteins in solution
X. Kong, F. Pojer, C. Heinis
Even though peptide binds in a strongly helical conformation, it is very floppy in solution

## Slide 39
Peptides and disordered proteins in solution
Ice-binding peptide, cyclized through Cys
XCCXXXXXCXXXXCXXXX
Structure in solution? Esp. C-C bonding ?
High solubility  natural abundance of 13C and 15N
(1% and 0.1%)
C. Stevens, H.-A. Klok

## Slide 40: Some key reviews about IDPs focusing on NMR (and there’s even more…)
https://pubs.acs.org/doi/10.1021/ja101645g
https://pubs.acs.org/toc/chreay/114/13 (Chem Rev issue on IDPs)
https://pubs.acs.org/doi/full/10.1021/cr400695p (Chem Rev on IDPs in cells)
https://www.sciencedirect.com/science/article/pii/S0003986117302977?via%3Dihub
https://reader.elsevier.com/reader/sd/pii/S0003986119311464?token=6BED663424C04229DCE87D18109BC3ADEF35AF3BCC96E8F943527EE5D640E3760E1246D6A37767C9FFDAB43013FD017B&originRegion=eu-west-1&originCreation=20220309171930
https://www.sciencedirect.com/science/article/pii/S0959440X21000531?via%3Dihub
https://analyticalsciencejournals.onlinelibrary.wiley.com/doi/10.1002/pmic.201800055
https://www.mdpi.com/2218-273X/12/1/27/htm (NMR + Fluo techniques)
https://link.springer.com/content/pdf/10.1007/s10858-019-00280-2.pdf (perspective but instructive)
https://www.sciencedirect.com/science/article/pii/S1046202318300082

## Slide 41
1000s of papers studying IDPs or ID segments with NMR.
A perspective by two of the leaders, J. Dyson + P. Wright, has it “all”.  I will focus on this
NMR people see proteins in a somewhat different way than X-ray / Cryo people.
Closer to MD people but like if MD worked, especially about timescales.
This because of the amenability to disordered proteins.
The perspective follows a historical timeline, making it even nicer to read.
https://link.springer.com/content/pdf/10.1007/s10858-019-00280-2.pdf

## Slide 42
> half of the proteome is disordered
IDPs are inherently dynamic and sample an ensemble of conformations in solution
But not just crazy disordered: ensembles, propensities, stabilizing interactions, etc.
Struct biol approach very reductionistic: ordered & disord proteins studied separately
True situation inside cells very complex as folded proteins and IDPs share spaces
Fuzzy complexes: Even in nM cases, the IDP might retain disorder.
Extreme case in https://www.nature.com/articles/nature25762
“Extreme disorder in an ultrahigh-affinity complex”

## Slide 43
Part 4-B
Biochemistry at atomic-resolution on disordered proteins

## Slide 44
In-cell / In vivo protein NMR

## Slide 45
Deliver proteins into various mammalian cells by electroporation
Adapted from Erica Secci’s PhD thesis, CERM: https://pdfs.semanticscholar.org/afe8/736a87a37cbb374a5249c232e85076dcfa2b.pdf
Labeling proteins for in vivo NMR
Inject 13C,15N protein into oocytes
Switch bacteria from rich to in 13C,15N medium and start protein expression
Deliver proteins fused with cell penetrating peptides into various mammalian cells
Deliver proteins into various mammalian cells through pore-forming toxins

## Slide 46
Example
Synuclein remains IDP inside cells
Compared NMR in:
Solution
Crowded solution
Cell lysates
Model cells
α-Syn dynamics in cells and crowded solutions. a) Residue resolved NMR signal intensity ratios (I/Io) of α-Syn in A2780 and SK-N-SH cells (red) identify regions of site-selective line broadening (marked by arrows). No line broadening of N-terminally acetylated α-Syn is observed in the presence of Ficoll (blue), whereas BSA (green) and lysozyme (orange) recapitulate signal attenuations of N- and C-terminal residues, respectively. For simplification, all profiles show values averaged over three consecutively resolved residues. AU, arbitrary units. b) Residue resolved rotational correlation time (τc), or mobility, of N-terminally acetylated α-Syn in buffer (gray), in cells (red), and in the presence of different crowding agents (averaged over three consecutively resolved residues) reveal uniform reductions of fast protein motions. c) Site-specific exchange contributions (Rex) identify α-Syn regions that engage in weak transient interactions with cytoplasmic components (marked with arrows). Substitution of Phe4 and Tyr39 with alanine residues (F4A;Y39A) reduces N-terminal Rex terms in cells (light red) and in BSA-crowded solutions (light green), thus identifying hydrophobic contacts as the source of N-terminal exchange contributions. Higher salt concentrations diminish C-terminal α-Syn interactions with lysozyme (light orange), arguing for electrostatic effects. Different from BSA-crowded solutions, only residues 1–20 of N-terminally acetylated α-Syn exhibit pronounced exchange contributions in the presence of sub-saturating amounts of SUVs (blue), which are diminished for α-Syn (F4A;Y39A) (light blue)
https://www.nature.com/articles/nature16531

## Slide 47
https://www.nature.com/articles/ncomms10251?origin=ppub

## Slide 49
Part 5
Hands-on work on some spectra

## Slide 50
Hands-on: What happened when a kinase tried to phosphorylate this protein substrate?
Experiment:
Given a protein for which we have assignments,
We added a kinase + Mg+2 + ATP, and monitored phosphorylation by HSQC spectra at 30 C.

## Slide 51: Disordered proteins & peptides in solution
15N
1H
Glu12
Gln40
Glu5
Gly79
Ala83
Leu4
Ala81
Phe11
Val82
Ala10
Leu14
Leu7
Lys6
Ser13 & 16
Ala60
Glu84
Lys15
Lys9
Phe17
Met8
Gln19
Gln39
Gln18
PolyQ
MATLEKLMKAFESLKSFQQQQQQ...QQQQQQPPPPPPPPPPPQLPQPPPQAQPLLPQPQPPPPPPPPPPGPAVAEEPLHRP
13C further unveils residual structure in disordered proteins
For a well-folded protein:

## Slide 52
Before adding ATP
After full phosphorylation
Gln40
Glu5
Gly79
Ala83
Leu4
Ala81
Phe11
Val82
Ala10
Leu14
Leu7
Lys6
Ser13 & 16
Ala60
Glu84
Lys15
Lys9
Phe17
Met8
Glu12
Gln19
Gln39
Gln18
PolyQ
Protein + kinase + ATP + Mg

## Slide 53
t = 0
t = 1
t = 2
t = 4
t = 6
t = 9
t = 19
t = 29
t = 39
t = 49
t = 59
t = 69
t = 79
t = 89
t = 99
t = 109
t = 119
The phosphorylation reaction itself is monitored by consecutive 1H, 15N HSQCs
All this in TBK1 reaction buffer, at 293 K, spectra take 3 min or 10 min

## Slide 54
Conclusion 1) phosphorylation of Ser13 happens first and “primes” that of Ser16
Chart: 
Chart: 
Example data Met reduced
Simulation of priming with equal rates and KMs

## Slide 55
Conclusion 2) Oxidized methionine seems to foster phosphorylation by TBK1
Met8ox, essentially fully phosphorylated in 5 hours
Met8red, not fully phosphorylated even after 20 hs

## Slide 56: Thank you and remember: NMR is much more than structures
Effects of mutations just by looking at spectra
Interactions with other proteins, XNA or ligands
Screening ligands in mixtures
Dynamics over vast timescales
Residue-specific pH titrations
Water exchange dynamics
Hydrogen bonds
Intrinsically disordered proteins & peptides
Selectively labeled samples –not changing chemistry
Structural biology in vivo, in cells, in lysate, in highly crowded conditions –thanks to isotope enrichment
More exotic: paramagnetic metals and probes, diffusion spectroscopy, NMR in MRI…

## Slide 57
Some hands-on work
Analyze titration of 15N NBR1 with ubiquitin
  CARA: http://cara.nmr.ch/doku.php/cara_downloads
  Computer mouse
  Download zip file with all material for practical (moodle)
  Reference PDB: 2MJ5

## Slide 58
Analyze titration of apo calmodulin with calcium
Read about calmodulin beforehand: https://pdb101.rcsb.org/motm/44
Have Pymol or some other molecular viewer installed
Have Sparky installed and check that it works
Download all these files:
  http://lucianoabriata.altervista.org/tmptransfers/230203_LA_Calmodulin_15N.zip
  http://lucianoabriata.altervista.org/tmptransfers/analyses_on_my_own_titration.zip
  Sparky commands: fo file open fs file save F1/F8/F11 rp read peaks
  ct set contours st set calibration, spectrum name, etc ol overlay
Apo (no Ca) expno 4
0.4 eq Ca expno 1005
0.8 1007
1.0 1008
1.2 1009
1.5 1010
6
7
8
9
10
11