Fundamentals in Biophotonics
Single-molecule Localization Microscopy (SMLM)
Aleksandra Radenovic
aleksandra.radenovic@epfl.ch
EPFL – Ecole Polytechnique Federale de Lausanne
Bioengineering Institute IBI

---
Microscopy
“ and by the help of Microscopes, there is nothing so small as to escape our inquiry… “
Robert Hook
Drawings of the instruments used by Robert Hook. Image reproduced from R.Hook (1665)
[Speaker Notes: Of all the techniques used in biology microscopy is probably the most important. The vast majority of living organisms are too small to be seen in any detail with the human eye, and cells and their organelles can only be seen with the aid of a microscope. Cells were first seen in 1665 by Robert Hooke (who named them after monks' cells in a monastery), and were studied in more detail by Leeuwehoek using a primitive microscope. With the light microscope, mankind was able to see for the first time that every living being consists of cells as basic units of structure and function; bacteria were discovered with the light microscope, and also mitochondria as examples of subcellular organelles. Robert Hook , amazed by the microscope capabilities stated back than and by the help of Microscopes, there is nothing so small as to escape our inquiry…]

---
Resolution of a Light Microscope
nobelprize.org
[Speaker Notes: However, the light microcopy is plagued by a fundamental problem with optical imaging, related to the physical nature of light – diffraction limit that prevents us of observing objects smaller than several hundreds of nanometers . That physical limit translated into the biological world would mean that light microscopy limitations prevents us off observing smaller features than mitochondrion and to observe smaller biological structures one needs to use electron microscopy. Among optical microscopy techniques Fluorescence microscopy has proven to be a powerful method for studying biology due to its simple implementation into an optical system. Many molecules which possess the ability to fluoresce can be easily and specifically tagged to single proteins, rendering them visible on the microscope. Combining the physical process of fluorescence as a proxy for the biological structure to image, fluorescence microscopy has given protein-specific contrast to biological structures. Fluorescence excitation sources such as fluorescence lamps or lasers are now commonly available, as are a wide range of filters at various wavelengths and spectral bandwidths used to selectively allow only photons in the emission spectrum of the fluorescent molecule to be imaged by the system.]

---
From Concepts to Applications
Point Spread Function (PSF)
Localization
Labelling density
Fluorophore photo-physics
Stochastic readout
Applications
[Speaker Notes: In the first part of the lecture we will introduce concepts such as point spread function , localization labeling density , fluorophore photopysciscs, stochastic readout and we will finish with the some of the applications we]

---
Point Spread Function (PSF) –resolution limit
In 1873 Ernst Abbe was the first to mathematically formalize this notion by calculating the lateral spot size d, of a point source imaged through a microscope objective (point spread function PSF) as
Microscope
objective
Excitation light
Thompson at al., Biophys. J., 2002;
Huang, B.; Bates, M.; Zhuang, X., Annual Review of Biochemistry 2009, 78 (1), 993–1016.
[Speaker Notes: As a first task we wil introduce point spread function : since the light wave undergoes diffraction during its interaction with the objective, the imaging of an object in the sample results in an imagewhich is a convolution of that object and the Point Spread Function (PSF) of the microscope The PSF is theoretically described by an Airy disc model(Figure 1.2), and is often approximated by a Gaussian function whose width depends on the wavelength of light and the aperture of the objective used. Formally, several mathematical descriptions of this criteria exist, differing only in their definition of the minimum distance necessary to effectively separate the two airy functions Ernst Abbe was the first to mathematically formalize this notion in 1873 by calculating the spot size, d, of a point source imaged through a microscope objective as]

---
Point Spread Function (PSF) –resolution limit
In 1873 Ernst Abbe was the first to mathematically formalize this notion by calculating the lateral spot size d, of a point source imaged through a microscope objective (point spread function PSF) as
Microscope
objective
Excitation light
Thompson at al., Biophys. J., 2002;
Huang, B.; Bates, M.; Zhuang, X., Annual Review of Biochemistry 2009, 78 (1), 993–1016.
axial
lateral
[Speaker Notes: Shortly thereafter, Lord Rayleigh in 1879, expanded on this notion by defining the minimum discernable separation between the spatial intensity distribution of two converging point sources, called the Rayleigh criteria, imposing this distance such that the maximum of one point spread function is placed exactly at the first minimum of its adjacent PSF. Mathematically, this was formalized as shown in the expression For typical wavelengths used in FM (e.g., in the case of Green Fluorescent Protein, GFP, 500nm) and the typically available high aperture sizes ( 1.49), the Full Width Half Maximum(FWHM) of this PSF is about 200nm – if there are multiple objects which fall within this scale, they cannot be identified separately, and hence, this is known as the diffraction limit of light. Conventional fluorescent microscopy (in modalities such as Wide Field and Confocal), therefore, has a resolution limited by diffraction of light.]

---
Point Spread Function (PSF) –resolution limit
Lord Rayleigh in 1879
Rayleigh resolution criterion for Airy disc separation:
maximum of PSF1 at minimum of PSF2
Microscope
objective
Thompson at al., Biophys. J., 2002; Huang, B.; Bates, M.; Zhuang, X., Annual Review of Biochemistry 2009, 78 (1), 993–1016.
Excitation light
axial
lateral
[Speaker Notes: Shortly thereafter, Lord Rayleigh in 1879, expanded on this notion by defining the minimum discernable separation between the spatial intensity distribution of two converging point sources, called the Rayleigh criteria, imposing this distance such that the maximum of one point spread function is placed exactly at the first minimum of its adjacent PSF. Mathematically, this was formalized as shown in the expression For typical wavelengths used in FM (e.g., in the case of Green Fluorescent Protein, GFP, 500nm) and the typically available high aperture sizes ( 1.49), the Full Width Half Maximum(FWHM) of this PSF is about 200nm – if there are multiple objects which fall within this scale, they cannot be identified separately, and hence, this is known as the diffraction limit of light. Conventional fluorescent microscopy (in modalities such as Wide Field and Confocal), therefore, has a resolution limited by diffraction of light.]

---
Optical transfer function
23/04/2024
EPFL STI LOB, Dr. Marcel Leutenegger
Object
Observed
image
Spatial frequency,
periods/meter
p
OTF(p)
1
Image
contrast
Diffraction limit
p < 2NA / l

---
Nobel Prize 2014 in Chemistry
"for the development of super-resolved fluorescence microscopy"
Eric Betzig
Stefan W. Hell
William E. Moerner
Matts Gustafsson (1960-2011)
nobelprize.org
[Speaker Notes: While the diffraction limit is fundamental, a number of far-field microscopic modalities have been developed that can get around it. These optical Super-Resolution (SR) techniques include STimulated Emission Depletion (STED) Microscopy, and a set of Structured Illumination Microscopy (SIM) (Gustafsson, 2000, 2005), modalities that can be categorized under the umbrella term Single Molecule Localization Microscopy (SMLM), such as PhotoActivated Localization Microscopy STochastic Optical Reconstruction Microscopy (This class of super-resolution microscopy techniques has become widely adopted since the publication of the first methods in 2006 and its impact on life science research was recognized by the award of a Nobel Prize to pioneers Betzig and Moerner in 2014 together with Stefan Hell who introduced and implemented an idea of exploiting stimulated-emission-depletion to reduce the size of the excitation PSF in a laser scanning microscope developed into STED microscopy, As emphasized in this lecture we focus on the]

---
Overcoming the Resolution Limit
use the properties of fluorophores
photophysics, photochemistry, …
targeted readout:
molecular density,
patterned illumination
STED/RESOLFT/SIM…
stochastic readout:
specimen made up of single-molecules SMLM (PALM, (d)STORM, PAINT, …)/SOFI/3B…
[Speaker Notes: The SR modalities differ in the mechanism one goes around diffraction limtion either by explotin patterned illumination such as in the STED/RESOLFT/SIM or by exploiting stochastic readout as in Single Molecule Localization Techneiques such as PALM dSTORM, PAINToSOFI]

---
Origins of SMLMS-localization
s is the standard deviation of the microscope point spread function (approximated to a Gaussian)
EM-CCD pixel size a is defined by the ratio of the physical camera pixel and the system magnification
b2 the number of background photons per pixel in the image
Thompson at al., Biophys. J., 2002; Huang, B.;
Bates, M.; Zhuang, X., Annual Review of Biochemistry 2009, 78 (1), 993–1016., Annibale et.al. 2012
localization precision:
[Speaker Notes: However for todays lecture we focus on Localization microscopy. the roots of localization microscopy, which relies on serial localization of diffraction-limited spots of single fluorescent molecules, can be found in technologies that date back more than 20 years. The theoretical variance of the coordinates of the single molecule, given by the Cramer-Rao lower bound and gives a fundamental limit to the localization precision that is first proposed by Thompson Back in 2002, Thompson et al. first quantitatively investigated the uncertainty with which the center position of a single fluorophore can be extracted from its image through a real optical system, with sensor noise and finite pixel size On this EM-CCD camera frame we can observe single molecules embedded in a Poly Acrylamide matrix together with a bright fiducial bead (Tetraspek, Invitrogen). Quantitatively, this is referred to as the localization precision. Lets have a look how this expression is derived From a single molecule N signal photons are calculated by integrating over a molecular window. b2 background photons/pixel are calculated where the molecule is absent. The EM-CCD pixel size a is defined by the ratio of the physical camera pixel and the system magnification . Zoom region displays single molecule image. The number of signal photons N » 1500. The number of background photons per pixel b2 20.]

---
Origins of SMLMS-localization
localization precision:
s is the standard deviation of the microscope point spread function (approximated to a Gaussian)
EM-CCD pixel size a is defined by the ratio of the physical camera pixel and the system magnification
b2 the number of background photons per pixel in the image
Thompson at al., Biophys. J., 2002; Huang, B.;
Bates, M.; Zhuang, X., Annual Review of Biochemistry 2009, 78 (1), 993–1016., Annibale et.al. 2012
[Speaker Notes: Mortensen et al. later refined this uncertainty to include excess noise from the electron multiplication process in EMCCDs commonly used in SMLM, resulting in the slight improvement]

---
Localization
Bright fluorescent probes allow more exact PSF fitting and therefore less error in the centroid calculation.
Thompson at al., Biophys. J., 2002; Huang, B.;
Bates, M.; Zhuang, X., Annual Review of Biochemistry 2009, 78 (1), 993–1016., Annibale et.al. 2012
[Speaker Notes: Here we illustrate the transition from diffraction limited PSF to 2D by rendering Gaussians as a function of the single molecule SNR. Each localized molecule in a is rendered as a 2D Gaussian distribution that has a standard deviation given by the localization precision. To summarize, in the absence of noise, the uncertainty with which a single molecule’s position can be estimated from an image of its fluorescence emission varies linearly with the PSF size and inversely with the square root of the number of photons collected above the background in that image. Bright fluorescent probes allow more precise PSF fitting and therefore less error in the centroid calculation. USE HAND]

---
Fluorophore Stochastic Switching
One could imagine breaking the diffraction barrier also in a non-fluorescence far-field optical microscope, provided suitable states and state transitions are identified
S. Hell, nobel lecture; Huang, B.; Bates, M.; Zhuang, X., Annual Review of Biochemistry 2009, 78 (1), 993–1016.
[Speaker Notes: Following important concept relies on the stochastic switching between the states in fluorescence imaging that is fluorescent and non-fluorescent state]

---
Stochastic Switching

---
Principle of SMLM –summarized
 Laine at al., Methods and Applications in Fluorescence 2016
[Speaker Notes: sufficiently labeled underlying structure with appropriate fluorescent dye, it can be imaged with a fluorescent microscope. A conventional wide-field image of this structure will result in a blur limited by the diffraction limit (red blur). However, in SMLM, each fluorophore on the structure of interest is imaged sequentially such that their individual fluorescence pattern can be isolated in each camera frame (indicated by the time axis). The coordinates of each imaged fluorophore can be estimated, typically by 2D Gaussian fit, and the super-resolved image can be computed. Additionally, the set of coordinates can be exploited to perform quantitative analysis, clustering or single particle averaging. RESHAPE TO AOEAR ONE BY ONE]

---
From localizations to images
the other key determinant of resolution is the density of labeled molecules in the specimen.
The mean distance between neighboring localized molecules must be at least twice as fine as the desired resolution. To achieve 10-nanometer lateral resolution, molecules must be spaced a minimum of 5 nanometers apart in each dimension to yield a minimum density of 40,000 molecules per square micrometer.

---
Microtubule–from localization to images
Optimized localization precision and labeling density
Effect of suboptimal localization precision
Deschout et al. Nature Methods 2014
[Speaker Notes: The localization microscopy image faithfully represents the actual structure only when the localization precision and label density are sufficiently high and the label displacement is sufficiently small. The resolution in the localization microscopy images is decreased by lower localization precision The actual structure consisting of molecules is symbolized by the green dots. The apparent structure that is observed in the localization microscopy image consists of estimated positions (red dots) of the labels (blue dots). The open red circles represent the localization precision. The resolution in the localization microscopy images is decreased by lower localization precision]

---
Microtubule–from localization to images
Optimized localization precision and labeling density
Effect of suboptimal labeling density
Deschout et al. Nature Methods 2014
[Speaker Notes: The resolution in the localization microscopy images is decreased by lower labelling density]

---
Microtubule –from localization to images
Optimized localization precision and labeling density
Effect of the higher label displacement
Deschout et al. Nature Methods 2014
[Speaker Notes: The resolution in the localization microscopy images is decreased also if the label undergoes the higher label displacement]

---
Analysis
Sebastian van de Linde J. Phys. D: Appl. Phys. 52 (2019) 203002

---
Analysis
Sebastian van de Linde J. Phys. D: Appl. Phys. 52 (2019) 203002

---
Applications new biology
Spectrin and adducin exhibit quasi-1D, periodic patterns in axons, quantitatively similar to that observed for actin
Ke Xu et al, Science 2013
[Speaker Notes: SMLM was instrumental in revealing that spectrin and adducing exhibit quasi-1D, periodic patterns in axons, quantitatively similar to that observed for actin. ( By using Three-dimensional SMLM imaging of βII-spectrin in axons it was possible to determine the spacing of the pattern to 182 nm and a SD of 18 nm. (B) but for βIV-spectrin, which is specifically located in the initial segments of axons. βIV-spectrin the spacing is la 194 nm and a SD of 15 nm (N = 88 spacings). Similarly adctin o/localizes with V spectrin and spacing is set]

---
Photo-Activatable Localization Microscopy (PALM) principle
A small fraction of a sample's fluorescent proteins are put into an "on" state, where they glow red when illuminated with yellow light. At the highest optical magnification each molecule looks like a fuzzy ball about 250 nm in diameter. However, the center where the fluorescent label is located can be determined to a fraction of that size.
Next, a new sparse set of fluorescent proteins is turned on and the process iterates. In the top frame the accumulation of all the fuzzy balls forms the diffraction-limited image seen in a far-field microscope. The bottom frame shows the accumulation of the center spots, which builds a higher resolution PALM image
Harald Hess
http://www.hhmi.org/research/fellows/figs/hess_fig.html

---
PALM: Photo-Activatable Localization Microscopy
The World’s highest resolution (1-10 nm !!!) optical microscope was developed and built in a living room in Michigan. PALM: Photo-Activatable Localization Microscopy
September 2006!
Betzig, E. et al. 313, 1642–1645 (2006)

---
Gradual assembly of a PALM image
Gradual assembly of a photoactivated localization microscope (PALM) image (right) from the center coordinates of the images of many single molecules (flashing spots at left), activated and localized one-at-a-time. If the images are summed without localization, the conventional optical image is eventually recovered (center).
The process takes anywhere from 2–12 hours per sample and generates 104–105 images.

---
Obtaining Fiducial Data
PALM /STORM fiducials are identified as stable light sources during imaging this light sources are always on and it could be tracked to
Betzig, E. et al. 313, 1642–1645 (2006)

---
First PALM images fixed cells
Betzig, E. et al. 313, 1642–1645 (2006)

---
First PALM images fixed cells
Mitochondria Section Eos in lumin
Betzig, E. et al. 313, 1642–1645 (2006)