Fundamentals in Biophotonics
Light Sheet Microscopy
Aleksandra Radenovic
aleksandra.radenovic@epfl.ch
EPFL – Ecole Polytechnique Federale de Lausanne
Bioengineering Institute IBI

---
Fluorescence Microscopy
Energy state transitions leading to fluorescence
Fluorescence microscopy setup
Lleres et al., Current protocols in cytometry (2007)
Chen et al., Sensors (2014)

---
Confocal Fluorescence Microscopy
Setup for confocal fluorescence microscopy
Setup for widefield fluorescence microscopy
Chen et al., Sensors (2014)
4

---
Light Sheet Microscopy
Arrangement of illumination and detection objective in light sheet microscopy
Different illuminations in fluorescence microscopy
Chatterjee et al., Applied Spectroscopy (2018)
Krieger, Wikimedia Commons (2013)

---
Light Sheet Microscopy
Advantages of Light sheet microscopy:
Optical sectioning
Reduction of photobleaching and phototoxicity
Speed
Optogenetics: Light-driven Actuators and Light-emitting Sensors in Cell Biology (2018)

---
Gaussian light sheet
Profile of a Gaussian light sheet
Mizuyama, COMSOL Blog
(2016)

---
Resolution
Resolution limit: minimal distance between two distinguishable radiating points
Point spread function: response of an optical system to a point source
Point sources
d
Latychevskaia, Applied Optics (2019)

---
Comparison of different light-sheets
Chen et al., Science (2014)

---
Setup
Chen et al., Science (2014)

---
Aquisition of 3D images
Chen et al., Science (2014)

---
Superresolution Structural Imaging Microscopy
Comparison of point spread function in dithered mode and SIM mode:
Chen et al., Science (2014)
12

---
Superresolution Structural Imaging Microscopy
observable region
Theoretical background of SIM
observable region
=
∗
FT(object)
FT(emission)
FT(illumination)
Resulting observable region:
observable region
observable region
Repeat procedure at rotated positions

---
Application of the Lattice Light Sheet Microscopy
Lattice light-sheet microscopy:
Imaging molecules to embryos at high spatiotemporal resolution
Bi-Chang Chen et al., Science 346, 2014.
Spheroid of mouse embryonic stem cells.
Distribution of AIR-2 relative to
plasma membranes and histones in C. elegans.
Histones and 3D tracks of growing microtubule ends.
Neutrophil-like human HL-60 cell in collagen matrix.

---
Dynamics of filopodia on HeLa cells
Lattice Light Sheet Microscopy in comparison with
Dithered and SIM mode
Light Sheet Microscopy using a Bessel Beam
of Lattice Light Sheet Microscopy
Top and side view volume renderings of HeLa cells expressing mEmerald-Lifeact.
Chen et al., Science, 2014.
15

---
Single molecule tracking
Investigation of diffusion and binding kinetics of SOX2 transcription factors (densely labeled with TMR HaloTag),
across a 35µm-diameter spheroid of mouse embryonic stem cells.
Chen et al., Science, 2014.
16

---
Non-invasive 3D imaging of intracellular dynamics
Schematic representation of mitosis
Microtubule
Intermediate Filaments
Aktinfilaments
G.Civelekoglu-Scholey, D.Cimini, The Royal Society, 2014.
17

---
Non-invasive 3D imaging of intracellular dynamics
Trajectories of the endpoints of growing microtubules in HeLa cells
Five different stages during the division of a single HeLa cell
Distributions of the mean velocity of each growth track
Collated over nine to eleven different cells at seven different stages before and during mitosis.
EB1 protein labeled with GFP.
HB2 protein labeled with mTagRFP.
Chen et al., Science, 2014.
18

---
Cell-matrix interactions
Connective Tissue
Fibers
Cells
e.g. Fibroblasts, Leukocytes
Ground substance
Extracellular matrix
Cell movement through a matrix
Neutrophil-like human HL-60 cell expressing mCherry- utrophin in a fluorescently labeled collagen matrix.
Volume renderings of th5eccmell at three time points.
Chen et al., Science, 2014.	19

---
Subcellular physiology of developing cells
Embryonic stages of developement of Caenorhabditis Elegans
Challenge
Subcellular processes on time- scale of seconds to minutes
in contrast to the hours lasting
whole development.
D.H. Hall et al., Introduction to C. elegans Embryo Anatomy, WormAtlas.
20

---
Subcellular physiology of developing cells
Imaging of the chromosomal passenger protein AIR-2 in C. Elegans embryos.
Volume renderings of GFP-AIR- 2, localized at condensed chromosomes during prophase and metaphase.
Volume renderings of GFP-AIR- 2, present on microtubules in the spindle midzone of the AB cell during anaphase.
AIR-2  Green channel
Chromosomes and plasma membrane  Red channel
Chen et al., Science, 2014.

---
Subcellular physiology of developing cells
Volume rendering of GFP-PH domains (green) and mCherry-H2B (orange) in C. elegans embryo at the three-fold stage,
after the onset of muscle contractions.
Two-cell to six-cell developmental stage.
Chen et al., Science, 2014.

---
Summary
Two objectives (illumination and detection) arranged in 90° to each other
Illumination with a light sheet, generated by a lattice
Possibility of combination with superresolution techniques
Limitations
Advantages
Still photobleaching and phototoxicity
Huge amount of data
High resolution
High Speed
Low photobleaching and phototoxicity effects
Performance degrades increasingly with depth because of sample-induced aberrations
23

---
Light Sheet Microscopy-
-Light sheet through single plane of specimen that is perpendicular to detection lens
-increased resolution as it eliminates light diffraction from out of focus
planes in widefield microscopy (as confocal microscopy does)
-ALSO eliminates photoxicity to planes above and below plane of
specimen (don’t receive excitatory light)
2004
2012
Betzig: further improvements:
used swept “nondiffracting” Bessel sheet to reduce phototoxicity
and SIM (Structured-Illumination Modulation)to increase resolution

---
Lattice Light Sheet Microscopy- Latest Development
-2D opticle lattice light sheet
 directed through single plane
 perpendicular to detection lens
-interference pattern of
 opticle lattice eliminates
 unwanted diffraction within
 illuminated plane to further
 reduce diffraction: increased
 resolution and reduced
 phototoxicity/photobleaching
-allows live imaging of dynamic
 processes at or below the resolution
 limit of light microscopy (~200 nm)

---
Lattice Light Sheet Microscope
-X cylindrical lens stretches beam
-Z cylindrical lens compresses
 into thin sheet of light
-projected onto SLM (Spatial
Light Modulator)-modulates
waveform of light to create
optical lattice
Dithered Mode:
fast but lower resolution
- light sheet oscillated
in the X axis (not stepped)
as scanned along z axis
SIM mode:
high resolution but slower
-light sheet stepped
along x axis as scanned
along z axis
SLM
y
x
z
s
Dithered Mode

---
Figure 1. Methods of Light Sheet Microscopy
Detection Lens
intensity at rear pupil intensity at sample swept/dithered intensity overall PSF
Excitation Lens
point spreads
over distance
Specimen
G. beam through Axicon lens
Square 2D
Optical Lattice
Hexagonal 2D
Optical Lattice
hexagonal lattice square lattice Bessel Gaussian
SLM Generated

---
Optical Lattice Swept Bessel
Fig. 2. Comparisons of Previous
Swept Bessel Beam to
New Lattice Light Sheet
In SIM Mode (A vs B):
Similar resolution in SIM mode
[d=150 nm (x) by 280 nm (z)]
BUT cells imaged with swept
Bessel beam showed photobleaching
and evidence of phototoxicity (retraction)
about half way through 100 scans 3D
cell volumes; Lattice sheet did not
In Dithered Mode (C vs D):
Opticle lattice provided significantly
higher resolution during high speed
data acquisition
[d=230 nm (x) by 370 nm (z)]
Also can image indefinitely in opticle
lattice dithered mode
Optical Lattice Swept Bessel
dithered (1.5 s intervals ) SIM (7.5, 30s intervals)

---
Live Imaging with Dithered Light Sheets
To the videos:
Fast Dynamic Processes
1) Movie 5
GFP-tagged EB1 (found at growing end of microtubules)
RFP-tagged histone H2B
throughout mitosis in HeLa cells (human cervical cancer cells)
2) Movie 6
mEmerald-ER
MitoTracker Dep Red mitochondrial marker
mApple histone H2B
throughout mitosis in LLC-PK1 cells (pig kidney epithelial cells)
3) Movie 9
mCherry labeled Neutrophil cell
In vitro labeled collagen matrix
immune system cell migrating through extra cellular matrix material
4) Movie 11

---
Development in Multicellular Systems
Nanoscale subcellular processes on time scale of sec. to min.
in context of development on time scale of days to hours (increasing
likelihood of phototoxicity)
4) Movie 11
GFP-tagged Aurora kinase (AIR-2)
Membrane protein and histone H2B
Dynamics of cell division protein during C. elegans embryogenesis
4) Movie 13
Myosin II
Dorsal closure during Drosophila embryogenesis, when two epithelial sheets come together over
the “back” of the embryo
(See Cadherin in still images)
Remaining Problems?
Optical light sheets can only penetrate 20-100 mm, so can only be use at periphery of
some multicellular organisms. (Drosophila embryo size: 100 x 500 mm)
Goal to use adaptive optics, as used in correction of ground-based astronomy pictures for
atmospheric interference Biotechniques