## Exercise 7_1
Calibration of a SEC column BioSep-SEC-S3000 (Phemonenex)
Phosphate buffer (NaH2PO4 50 mM) pH 6.8
Elution flow rate: 0.5 ml/min
|  | Kd | PM | PM Litt. | t [min]
1 | Thyroglobuline | 0.18131 | 563251 | 670000 | 8.0171 | N° Ech. | Protéine | Kd | PM | PM Litt. | t [min] | Vr [ml] | log(PM)
2 | IgA | 0.22315 | 266814 | 300000 | 9.8672 | 1 | Thyroglobuline | 0.18131 | 563251 | 670000 | 8.0171 | 4.0085 | 5.8261
3 | IgG | 0.39888 | 150175 | 150000 | 17.6376 | 4 | LDH | 0.38773 | 116619 | 143000 | 17.1442 | 8.5721 | 5.1553
4 | LDH | 0.38773 | 116619 | 143000 | 17.1442 | 5 | Phosphorylase b | 0.42678 | 90561.2 | 97000 | 18.871 | 9.4355 | 4.9868
5 | Phosphorylase b | 0.42678 | 90561.2 | 97000 | 18.871 | 6 | BSA | 0.48536 | 59187.6 | 68000 | 21.4611 | 10.7306 | 4.8325
6 | BSA | 0.48536 | 59187.6 | 68000 | 21.4611 | 8 | Peroxydase du raifort | 0.54114 | 35692.3 | 40000 | 23.9279 | 11.964 | 4.6021
7 | Ovalbumine | 0.5272 | 40503.1 | 44000 | 23.3112 | 11 | Myoglobine | 0.64714 | 16714.3 | 17000 | 28.6148 | 14.3074 | 4.2304
8 | Peroxydase du raifort | 0.54114 | 35692.3 | 40000 | 23.9279 | 13 | Insuline | 0.76987 | 5234.52 | 5700 | 34.0417 | 17.0209 | 3.7559
9 | Anhydrase carbonique | 0.61925 | 29696.1 | 30000 | 27.3814 | 14 | Cyanocobalamine | 0.95398 | 1332.92 | 1350 | 42.1822 | 21.0911 | 3.1303
10 | Inhibiteur de la trypsine | 0.61367 | 18750.4 | 20100 | 27.1347
11 | Myoglobine | 0.64714 | 16714.3 | 17000 | 28.6148
12 | Lysozyme | 0.73501 | 12684.6 | 14400 | 32.5
13 | Insuline | 0.76987 | 5234.52 | 5700 | 34.0417
14 | Cyanocobalamine | 0.95398 | 1332.92 | 1350 | 42.1822
Molecular weight of the unknown protein
[7 empty] | Vol. élution | 13.2 | [ml]
[7 empty] | log(MW) | 4.3965 | [-]
[7 empty] | MW | 24917.2437 | [Da]
Elution volume of urease
[7 empty] | MW(Urease) | 480000 | [Da]
[7 empty] | Vol. élution | 5.1452 | [ml]

## Exercise 7_2
Give the value of pH in cell B7. The fraction of amino groups carrying a positive charge
will be automatically calculated in cell B10.
pH | 8
x+ | 96.17% | [%]
pKa | 9.4 | [-]

## Exercise 7_3
Time scale | 5.06 | [mm/min]
Peak Nr | Substance | tr [mm] | tr [min] | Wb [mm] | Wb [min] | R ]-]
1 | Methysticin | 65 | 12.8458 | 3.5 | 0.6917 | 1
2 | Dihydromethysticin | 68.5 | 13.5375 | 3.5 | 0.6917
3 | Dehydromethysticin | 74 | 14.6245 | 4 | 0.79051
4 | Kavain | 86.3 | 17.0553 | 5.5 | 1.087 | 1.5652
5 | Dihydrokavain | 95.3 | 18.834 | 6 | 1.1858
6 | Yangonin | 114.7 | 22.668 | 4 | 0.79051 | 2.5111
7 | Dehydrokavain | 126 | 24.9012 | 5 | 0.98814

## Exercise 7_4
|  | Pic 1 | Pic 2 | Pic 3 | Pic 4 | Pic 5 | Pic 6
Signal [-] |  | 0 | 0 | 0 | 100 | 0 | 0 |  | Peak 4
tR [min] |  | 2 | 5 | 8 | 20 | 13 | 16 |  | Number of theoretical plates N | 1000.1756 | [-]
Sigma [min] |  | 1e-05 | 0.05 | 0.2 | 0.6324 | 0.1 | 0.01 |  | Height of fixed bed | 300 | [mm]
Flow rate [mL/min] | [8 empty] | HETP | 0.29995 | [mm] | bar: Pic 1 to Pic 6
t [min] | V [mL] | Signal [-] | Signal [-] | Signal [-] | Signal [-] | Signal [-] | Signal [-] | Chromato
0 | 0 | 0 | 0 | 0 | 4.4871e-136 | 0 | 0 | 4.4871e-136
0.2 | 0.2 | 0 | 0 | 0 | 2.4277e-133 | 0 | 0 | 2.4277e-133
0.4 | 0.4 | 0 | 0 | 0 | 1.233e-130 | 0 | 0 | 1.233e-130
0.6 | 0.6 | 0 | 0 | 0 | 5.8781e-128 | 0 | 0 | 5.8781e-128
0.8 | 0.8 | 0 | 0 | 0 | 2.6306e-125 | 0 | 0 | 2.6306e-125
1 | 1 | 0 | 0 | 0 | 1.1051e-122 | 0 | 0 | 1.1051e-122
1.2 | 1.2 | 0 | 0 | 0 | 4.3579e-120 | 0 | 0 | 4.3579e-120
1.4 | 1.4 | 0 | 0 | 0 | 1.6132e-117 | 0 | 0 | 1.6132e-117
1.6 | 1.6 | 0 | 0 | 0 | 5.6056e-115 | 0 | 0 | 5.6056e-115
1.8 | 1.8 | 0 | 0 | 0 | 1.8285e-112 | 0 | 0 | 1.8285e-112
2 | 2 | 0 | 0 | 0 | 5.5988e-110 | 0 | 0 | 5.5988e-110
2.2 | 2.2 | 0 | 0 | 0 | 1.6092e-107 | 0 | 0 | 1.6092e-107
2.4 | 2.4 | 0 | 0 | 0 | 4.3419e-105 | 0 | 0 | 4.3419e-105
2.6 | 2.6 | 0 | 0 | 0 | 1.0997e-102 | 0 | 0 | 1.0997e-102
2.8 | 2.8 | 0 | 0 | 0 | 2.6145e-100 | 0 | 0 | 2.6145e-100
3 | 3 | 0 | 0 | 0 | 5.8351e-98 | 0 | 0 | 5.8351e-98
3.2 | 3.2 | 0 | 0 | 0 | 1.2224e-95 | 0 | 0 | 1.2224e-95
3.4 | 3.4 | 0 | 0 | 0 | 2.404e-93 | 0 | 0 | 2.404e-93
3.6 | 3.6 | 0 | 0 | 0 | 4.4379e-91 | 0 | 0 | 4.4379e-91
3.8 | 3.8 | 0 | 0 | 0 | 7.6905e-89 | 0 | 0 | 7.6905e-89
4 | 4 | 0 | 0 | 0 | 1.251e-86 | 0 | 0 | 1.251e-86
4.2 | 4.2 | 0 | 0 | 0 | 1.9103e-84 | 0 | 0 | 1.9103e-84
4.4 | 4.4 | 0 | 0 | 0 | 2.7381e-82 | 0 | 0 | 2.7381e-82
4.6 | 4.6 | 0 | 0 | 0 | 3.6843e-80 | 0 | 0 | 3.6843e-80
4.8 | 4.8 | 0 | 0 | 0 | 4.6535e-78 | 0 | 0 | 4.6535e-78
5 | 5 | 0 | 0 | 0 | 5.5174e-76 | 0 | 0 | 5.5174e-76
5.2 | 5.2 | 0 | 0 | 0 | 6.1407e-74 | 0 | 0 | 6.1407e-74
5.4 | 5.4 | 0 | 0 | 0 | 6.4155e-72 | 0 | 0 | 6.4155e-72
5.6 | 5.6 | 0 | 0 | 0 | 6.2919e-70 | 0 | 0 | 6.2919e-70
5.8 | 5.8 | 0 | 0 | 0 | 5.7924e-68 | 0 | 0 | 5.7924e-68
6 | 6 | 0 | 0 | 0 | 5.0057e-66 | 0 | 0 | 5.0057e-66
6.2 | 6.2 | 0 | 0 | 0 | 4.0607e-64 | 0 | 0 | 4.0607e-64
6.4 | 6.4 | 0 | 0 | 0 | 3.0922e-62 | 0 | 0 | 3.0922e-62
6.6 | 6.6 | 0 | 0 | 0 | 2.2104e-60 | 0 | 0 | 2.2104e-60
6.8 | 6.8 | 0 | 0 | 0 | 1.4832e-58 | 0 | 0 | 1.4832e-58
7 | 7 | 0 | 0 | 0 | 9.3423e-57 | 0 | 0 | 9.3423e-57
7.2 | 7.2 | 0 | 0 | 0 | 5.5239e-55 | 0 | 0 | 5.5239e-55
7.4 | 7.4 | 0 | 0 | 0 | 3.066e-53 | 0 | 0 | 3.066e-53
7.6 | 7.6 | 0 | 0 | 0 | 1.5974e-51 | 0 | 0 | 1.5974e-51
7.8 | 7.8 | 0 | 0 | 0 | 7.8126e-50 | 0 | 0 | 7.8126e-50
8 | 8 | 0 | 0 | 0 | 3.5868e-48 | 0 | 0 | 3.5868e-48
8.2 | 8.2 | 0 | 0 | 0 | 1.5458e-46 | 0 | 0 | 1.5458e-46
8.4 | 8.4 | 0 | 0 | 0 | 6.2535e-45 | 0 | 0 | 6.2535e-45
8.6 | 8.6 | 0 | 0 | 0 | 2.3748e-43 | 0 | 0 | 2.3748e-43
8.8 | 8.8 | 0 | 0 | 0 | 8.4656e-42 | 0 | 0 | 8.4656e-42
9 | 9 | 0 | 0 | 0 | 2.8328e-40 | 0 | 0 | 2.8328e-40
9.2 | 9.2 | 0 | 0 | 0 | 8.8984e-39 | 0 | 0 | 8.8984e-39
9.4 | 9.4 | 0 | 0 | 0 | 2.6238e-37 | 0 | 0 | 2.6238e-37
9.6 | 9.6 | 0 | 0 | 0 | 7.2626e-36 | 0 | 0 | 7.2626e-36
9.8 | 9.8 | 0 | 0 | 0 | 1.887e-34 | 0 | 0 | 1.887e-34
10 | 10 | 0 | 0 | 0 | 4.6025e-33 | 0 | 0 | 4.6025e-33
10.2 | 10.2 | 0 | 0 | 0 | 1.0537e-31 | 0 | 0 | 1.0537e-31
10.4 | 10.4 | 0 | 0 | 0 | 2.2647e-30 | 0 | 0 | 2.2647e-30
10.6 | 10.6 | 0 | 0 | 0 | 4.569e-29 | 0 | 0 | 4.569e-29
10.8 | 10.8 | 0 | 0 | 0 | 8.6528e-28 | 0 | 0 | 8.6528e-28
11 | 11 | 0 | 0 | 0 | 1.5382e-26 | 0 | 0 | 1.5382e-26
11.2 | 11.2 | 0 | 0 | 0 | 2.567e-25 | 0 | 0 | 2.567e-25
11.4 | 11.4 | 0 | 0 | 0 | 4.0211e-24 | 0 | 0 | 4.0211e-24
11.6 | 11.6 | 0 | 0 | 0 | 5.913e-23 | 0 | 0 | 5.913e-23
11.8 | 11.8 | 0 | 0 | 0 | 8.162e-22 | 0 | 0 | 8.162e-22
12 | 12 | 0 | 0 | 0 | 1.0576e-20 | 0 | 0 | 1.0576e-20
12.2 | 12.2 | 0 | 0 | 0 | 1.2864e-19 | 0 | 0 | 1.2864e-19
12.4 | 12.4 | 0 | 0 | 0 | 1.4687e-18 | 0 | 0 | 1.4687e-18
12.6 | 12.6 | 0 | 0 | 0 | 1.5742e-17 | 0 | 0 | 1.5742e-17
12.8 | 12.8 | 0 | 0 | 0 | 1.5838e-16 | 0 | 0 | 1.5838e-16
13 | 13 | 0 | 0 | 0 | 1.4958e-15 | 0 | 0 | 1.4958e-15
13.2 | 13.2 | 0 | 0 | 0 | 1.3261e-14 | 0 | 0 | 1.3261e-14
13.4 | 13.4 | 0 | 0 | 0 | 1.1036e-13 | 0 | 0 | 1.1036e-13
13.6 | 13.6 | 0 | 0 | 0 | 8.6211e-13 | 0 | 0 | 8.6211e-13
13.8 | 13.8 | 0 | 0 | 0 | 6.322e-12 | 0 | 0 | 6.322e-12
14 | 14 | 0 | 0 | 0 | 4.3519e-11 | 0 | 0 | 4.3519e-11
14.2 | 14.2 | 0 | 0 | 0 | 2.8121e-10 | 0 | 0 | 2.8121e-10
14.4 | 14.4 | 0 | 0 | 0 | 1.7057e-09 | 0 | 0 | 1.7057e-09
14.6 | 14.6 | 0 | 0 | 0 | 9.7124e-09 | 0 | 0 | 9.7124e-09
14.8 | 14.8 | 0 | 0 | 0 | 5.1913e-08 | 0 | 0 | 5.1913e-08
15 | 15 | 0 | 0 | 0 | 2.6046e-07 | 0 | 0 | 2.6046e-07
15.2 | 15.2 | 0 | 0 | 0 | 1.2267e-06 | 0 | 0 | 1.2267e-06
15.4 | 15.4 | 0 | 0 | 0 | 5.4236e-06 | 0 | 0 | 5.4236e-06
15.6 | 15.6 | 0 | 0 | 0 | 2.2509e-05 | 0 | 0 | 2.2509e-05
15.8 | 15.8 | 0 | 0 | 0 | 8.769e-05 | 0 | 0 | 8.769e-05
16 | 16 | 0 | 0 | 0 | 0.00032069 | 0 | 0 | 0.00032069
16.2 | 16.2 | 0 | 0 | 0 | 0.0011009 | 0 | 0 | 0.0011009
16.4 | 16.4 | 0 | 0 | 0 | 0.0035475 | 0 | 0 | 0.0035475
16.6 | 16.6 | 0 | 0 | 0 | 0.010731 | 0 | 0 | 0.010731
16.8 | 16.8 | 0 | 0 | 0 | 0.030471 | 0 | 0 | 0.030471
17 | 17 | 0 | 0 | 0 | 0.081221 | 0 | 0 | 0.081221
17.2 | 17.2 | 0 | 0 | 0 | 0.20323 | 0 | 0 | 0.20323
17.4 | 17.4 | 0 | 0 | 0 | 0.47733 | 0 | 0 | 0.47733
17.6 | 17.6 | 0 | 0 | 0 | 1.0524 | 0 | 0 | 1.0524
17.8 | 17.8 | 0 | 0 | 0 | 2.1782 | 0 | 0 | 2.1782
18 | 18 | 0 | 0 | 0 | 4.2317 | 0 | 0 | 4.2317
18.2 | 18.2 | 0 | 0 | 0 | 7.7176 | 0 | 0 | 7.7176
18.4 | 18.4 | 0 | 0 | 0 | 13.2121 | 0 | 0 | 13.2121
18.6 | 18.6 | 0 | 0 | 0 | 21.2322 | 0 | 0 | 21.2322
18.8 | 18.8 | 0 | 0 | 0 | 32.0293 | 0 | 0 | 32.0293
19 | 19 | 0 | 0 | 0 | 45.3555 | 0 | 0 | 45.3555
19.2 | 19.2 | 0 | 0 | 0 | 60.2897 | 0 | 0 | 60.2897
19.4 | 19.4 | 0 | 0 | 0 | 75.2293 | 0 | 0 | 75.2293
19.6 | 19.6 | 0 | 0 | 0 | 88.1172 | 0 | 0 | 88.1172
19.8 | 19.8 | 0 | 0 | 0 | 96.8869 | 0 | 0 | 96.8869
20 | 20 | 0 | 0 | 0 | 100 | 0 | 0 | 100
20.2 | 20.2 | 0 | 0 | 0 | 96.8869 | 0 | 0 | 96.8869
20.4 | 20.4 | 0 | 0 | 0 | 88.1172 | 0 | 0 | 88.1172
20.6 | 20.6 | 0 | 0 | 0 | 75.2293 | 0 | 0 | 75.2293
20.8 | 20.8 | 0 | 0 | 0 | 60.2897 | 0 | 0 | 60.2897
21 | 21 | 0 | 0 | 0 | 45.3555 | 0 | 0 | 45.3555
21.2 | 21.2 | 0 | 0 | 0 | 32.0293 | 0 | 0 | 32.0293
21.4 | 21.4 | 0 | 0 | 0 | 21.2322 | 0 | 0 | 21.2322
21.6 | 21.6 | 0 | 0 | 0 | 13.2121 | 0 | 0 | 13.2121
21.8 | 21.8 | 0 | 0 | 0 | 7.7176 | 0 | 0 | 7.7176
22 | 22 | 0 | 0 | 0 | 4.2317 | 0 | 0 | 4.2317
22.2 | 22.2 | 0 | 0 | 0 | 2.1782 | 0 | 0 | 2.1782
22.4 | 22.4 | 0 | 0 | 0 | 1.0524 | 0 | 0 | 1.0524
22.6 | 22.6 | 0 | 0 | 0 | 0.47733 | 0 | 0 | 0.47733
22.8 | 22.8 | 0 | 0 | 0 | 0.20323 | 0 | 0 | 0.20323
23 | 23 | 0 | 0 | 0 | 0.081221 | 0 | 0 | 0.081221
23.2 | 23.2 | 0 | 0 | 0 | 0.030471 | 0 | 0 | 0.030471
23.4 | 23.4 | 0 | 0 | 0 | 0.010731 | 0 | 0 | 0.010731
23.6 | 23.6 | 0 | 0 | 0 | 0.0035475 | 0 | 0 | 0.0035475
23.8 | 23.8 | 0 | 0 | 0 | 0.0011009 | 0 | 0 | 0.0011009
24 | 24 | 0 | 0 | 0 | 0.00032069 | 0 | 0 | 0.00032069
24.2 | 24.2 | 0 | 0 | 0 | 8.769e-05 | 0 | 0 | 8.769e-05
24.4 | 24.4 | 0 | 0 | 0 | 2.2509e-05 | 0 | 0 | 2.2509e-05
24.6 | 24.6 | 0 | 0 | 0 | 5.4236e-06 | 0 | 0 | 5.4236e-06
24.8 | 24.8 | 0 | 0 | 0 | 1.2267e-06 | 0 | 0 | 1.2267e-06
25 | 25 | 0 | 0 | 0 | 2.6046e-07 | 0 | 0 | 2.6046e-07
25.2 | 25.2 | 0 | 0 | 0 | 5.1913e-08 | 0 | 0 | 5.1913e-08
25.4 | 25.4 | 0 | 0 | 0 | 9.7124e-09 | 0 | 0 | 9.7124e-09
25.6 | 25.6 | 0 | 0 | 0 | 1.7057e-09 | 0 | 0 | 1.7057e-09
25.8 | 25.8 | 0 | 0 | 0 | 2.8121e-10 | 0 | 0 | 2.8121e-10
26 | 26 | 0 | 0 | 0 | 4.3519e-11 | 0 | 0 | 4.3519e-11
26.2 | 26.2 | 0 | 0 | 0 | 6.322e-12 | 0 | 0 | 6.322e-12
26.4 | 26.4 | 0 | 0 | 0 | 8.6211e-13 | 0 | 0 | 8.6211e-13
26.6 | 26.6 | 0 | 0 | 0 | 1.1036e-13 | 0 | 0 | 1.1036e-13
26.8 | 26.8 | 0 | 0 | 0 | 1.3261e-14 | 0 | 0 | 1.3261e-14
27 | 27 | 0 | 0 | 0 | 1.4958e-15 | 0 | 0 | 1.4958e-15
27.2 | 27.2 | 0 | 0 | 0 | 1.5838e-16 | 0 | 0 | 1.5838e-16
27.4 | 27.4 | 0 | 0 | 0 | 1.5742e-17 | 0 | 0 | 1.5742e-17
27.6 | 27.6 | 0 | 0 | 0 | 1.4687e-18 | 0 | 0 | 1.4687e-18
27.8 | 27.8 | 0 | 0 | 0 | 1.2864e-19 | 0 | 0 | 1.2864e-19
28 | 28 | 0 | 0 | 0 | 1.0576e-20 | 0 | 0 | 1.0576e-20
28.2 | 28.2 | 0 | 0 | 0 | 8.162e-22 | 0 | 0 | 8.162e-22
28.4 | 28.4 | 0 | 0 | 0 | 5.913e-23 | 0 | 0 | 5.913e-23
28.6 | 28.6 | 0 | 0 | 0 | 4.0211e-24 | 0 | 0 | 4.0211e-24
28.8 | 28.8 | 0 | 0 | 0 | 2.567e-25 | 0 | 0 | 2.567e-25
29 | 29 | 0 | 0 | 0 | 1.5382e-26 | 0 | 0 | 1.5382e-26
29.2 | 29.2 | 0 | 0 | 0 | 8.6528e-28 | 0 | 0 | 8.6528e-28
29.4 | 29.4 | 0 | 0 | 0 | 4.569e-29 | 0 | 0 | 4.569e-29
29.6 | 29.6 | 0 | 0 | 0 | 2.2647e-30 | 0 | 0 | 2.2647e-30
29.8 | 29.8 | 0 | 0 | 0 | 1.0537e-31 | 0 | 0 | 1.0537e-31
30 | 30 | 0 | 0 | 0 | 4.6025e-33 | 0 | 0 | 4.6025e-33
30.2 | 30.2 | 0 | 0 | 0 | 1.887e-34 | 0 | 0 | 1.887e-34
30.4 | 30.4 | 0 | 0 | 0 | 7.2626e-36 | 0 | 0 | 7.2626e-36
30.6 | 30.6 | 0 | 0 | 0 | 2.6238e-37 | 0 | 0 | 2.6238e-37
30.8 | 30.8 | 0 | 0 | 0 | 8.8984e-39 | 0 | 0 | 8.8984e-39
31 | 31 | 0 | 0 | 0 | 2.8328e-40 | 0 | 0 | 2.8328e-40
31.2 | 31.2 | 0 | 0 | 0 | 8.4656e-42 | 0 | 0 | 8.4656e-42
31.4 | 31.4 | 0 | 0 | 0 | 2.3748e-43 | 0 | 0 | 2.3748e-43
31.6 | 31.6 | 0 | 0 | 0 | 6.2535e-45 | 0 | 0 | 6.2535e-45
31.8 | 31.8 | 0 | 0 | 0 | 1.5458e-46 | 0 | 0 | 1.5458e-46
32 | 32 | 0 | 0 | 0 | 3.5868e-48 | 0 | 0 | 3.5868e-48
32.2 | 32.2 | 0 | 0 | 0 | 7.8126e-50 | 0 | 0 | 7.8126e-50
32.4 | 32.4 | 0 | 0 | 0 | 1.5974e-51 | 0 | 0 | 1.5974e-51
32.6 | 32.6 | 0 | 0 | 0 | 3.066e-53 | 0 | 0 | 3.066e-53
32.8 | 32.8 | 0 | 0 | 0 | 5.5239e-55 | 0 | 0 | 5.5239e-55
33 | 33 | 0 | 0 | 0 | 9.3423e-57 | 0 | 0 | 9.3423e-57
33.2 | 33.2 | 0 | 0 | 0 | 1.4832e-58 | 0 | 0 | 1.4832e-58
33.4 | 33.4 | 0 | 0 | 0 | 2.2104e-60 | 0 | 0 | 2.2104e-60
33.6 | 33.6 | 0 | 0 | 0 | 3.0922e-62 | 0 | 0 | 3.0922e-62
33.8 | 33.8 | 0 | 0 | 0 | 4.0607e-64 | 0 | 0 | 4.0607e-64
34 | 34 | 0 | 0 | 0 | 5.0057e-66 | 0 | 0 | 5.0057e-66
34.2 | 34.2 | 0 | 0 | 0 | 5.7924e-68 | 0 | 0 | 5.7924e-68
34.4 | 34.4 | 0 | 0 | 0 | 6.2919e-70 | 0 | 0 | 6.2919e-70
34.6 | 34.6 | 0 | 0 | 0 | 6.4155e-72 | 0 | 0 | 6.4155e-72
34.8 | 34.8 | 0 | 0 | 0 | 6.1407e-74 | 0 | 0 | 6.1407e-74
35 | 35 | 0 | 0 | 0 | 5.5174e-76 | 0 | 0 | 5.5174e-76
35.2 | 35.2 | 0 | 0 | 0 | 4.6535e-78 | 0 | 0 | 4.6535e-78
35.4 | 35.4 | 0 | 0 | 0 | 3.6843e-80 | 0 | 0 | 3.6843e-80
35.6 | 35.6 | 0 | 0 | 0 | 2.7381e-82 | 0 | 0 | 2.7381e-82
35.8 | 35.8 | 0 | 0 | 0 | 1.9103e-84 | 0 | 0 | 1.9103e-84
36 | 36 | 0 | 0 | 0 | 1.251e-86 | 0 | 0 | 1.251e-86
36.2 | 36.2 | 0 | 0 | 0 | 7.6905e-89 | 0 | 0 | 7.6905e-89
36.4 | 36.4 | 0 | 0 | 0 | 4.4379e-91 | 0 | 0 | 4.4379e-91
36.6 | 36.6 | 0 | 0 | 0 | 2.404e-93 | 0 | 0 | 2.404e-93
36.8 | 36.8 | 0 | 0 | 0 | 1.2224e-95 | 0 | 0 | 1.2224e-95
37 | 37 | 0 | 0 | 0 | 5.8351e-98 | 0 | 0 | 5.8351e-98
37.2 | 37.2 | 0 | 0 | 0 | 2.6145e-100 | 0 | 0 | 2.6145e-100
37.4 | 37.4 | 0 | 0 | 0 | 1.0997e-102 | 0 | 0 | 1.0997e-102
37.6 | 37.6 | 0 | 0 | 0 | 4.3419e-105 | 0 | 0 | 4.3419e-105
37.8 | 37.8 | 0 | 0 | 0 | 1.6092e-107 | 0 | 0 | 1.6092e-107
38 | 38 | 0 | 0 | 0 | 5.5988e-110 | 0 | 0 | 5.5988e-110
38.2 | 38.2 | 0 | 0 | 0 | 1.8285e-112 | 0 | 0 | 1.8285e-112
38.4 | 38.4 | 0 | 0 | 0 | 5.6056e-115 | 0 | 0 | 5.6056e-115
38.6 | 38.6 | 0 | 0 | 0 | 1.6132e-117 | 0 | 0 | 1.6132e-117
38.8 | 38.8 | 0 | 0 | 0 | 4.3579e-120 | 0 | 0 | 4.3579e-120
39 | 39 | 0 | 0 | 0 | 1.1051e-122 | 0 | 0 | 1.1051e-122
39.2 | 39.2 | 0 | 0 | 0 | 2.6306e-125 | 0 | 0 | 2.6306e-125
39.4 | 39.4 | 0 | 0 | 0 | 5.8781e-128 | 0 | 0 | 5.8781e-128
39.6 | 39.6 | 0 | 0 | 0 | 1.233e-130 | 0 | 0 | 1.233e-130
39.8 | 39.8 | 0 | 0 | 0 | 2.4277e-133 | 0 | 0 | 2.4277e-133
40 | 40 | 0 | 0 | 0 | 4.4871e-136 | 0 | 0 | 4.4871e-136

## Exercise 7_5
Corrigé exercice 7.5
Hydroquinone |  |  |  | Catechol |  |  |  | us [cm/s] | H hydroqu. Calc | H catechol Calc
| A | 8.5493e-05 | [cm] |  | A | 0.00010436 | [cm] | 0.03 | 0.00027133 | 0.00035099
| B | 5.3491e-06 | [cm2/s] |  | B | 7.1519e-06 | [cm2/s] | 0.035 | 0.00024711 | 0.00031831
| C | 0.00025104 | [s] |  | C | 0.0002745 | [s] | 0.04 | 0.00022926 | 0.00029414
[8 empty] | 0.045 | 0.00021566 | 0.00027565
us [cm/s] | Hhyd [cm] | H calc. | (H-Hcalc)^2 | us [cm/s] | Hhyd [cm] | H calc. | (H-Hcalc)^2 | 0.05 | 0.00020503 | 0.00026113
0.044444 | 0.00022411 | 0.00021701 | 5.0527e-11 | 0.044444 | 0.00028171 | 0.00027748 | 1.7917e-11 | 0.055 | 0.00019656 | 0.0002495
0.064865 | 0.00017749 | 0.00018424 | 4.5648e-11 | 0.064865 | 0.00023143 | 0.00023243 | 9.965e-13 | 0.06 | 0.00018971 | 0.00024003
0.082883 | 0.0001656 | 0.00017084 | 2.7439e-11 | 0.082883 | 0.00021497 | 0.0002134 | 2.4552e-12 | 0.065 | 0.0001841 | 0.00023224
0.0997 | 0.00016377 | 0.00016417 | 1.6235e-13 | 0.0997 | 0.00020034 | 0.00020347 | 9.7504e-12 | 0.07 | 0.00017948 | 0.00022575
0.12012 | 0.00016286 | 0.00016018 | 7.1699e-12 | 0.12012 | 0.00019486 | 0.00019688 | 4.0772e-12 | 0.075 | 0.00017564 | 0.00022031
0.13574 | 0.00016377 | 0.00015898 | 2.2989e-11 | 0.13574 | 0.00019029 | 0.00019431 | 1.6217e-11 | 0.08 | 0.00017244 | 0.00021572
0.15015 | 0.00016103 | 0.00015881 | 4.9165e-12 | 0.15015 | 0.00018937 | 0.00019321 | 1.475e-11 | 0.085 | 0.00016976 | 0.00021184
0.16697 | 0.00016011 | 0.00015945 | 4.4729e-13 | 0.16697 | 0.00019394 | 0.00019303 | 8.3274e-13 | 0.09 | 0.00016752 | 0.00020853
0.18859 | 0.00016469 | 0.0001612 | 1.2152e-11 | 0.18859 | 0.00019029 | 0.00019405 | 1.4204e-11 | 0.095 | 0.00016565 | 0.00020572
0.20661 | 0.00016194 | 0.00016325 | 1.7073e-12 | 0.20661 | 0.00019211 | 0.00019569 | 1.2813e-11 | 0.1 | 0.00016409 | 0.00020333
0.22102 | 0.00016743 | 0.00016518 | 5.0596e-12 | 0.22102 | 0.00019943 | 0.00019739 | 4.1466e-12 | 0.105 | 0.0001628 | 0.0002013
0.23664 | 0.00016834 | 0.0001675 | 7.0607e-13 | 0.23664 | 0.00020949 | 0.00019954 | 9.8844e-11 | 0.11 | 0.00016174 | 0.00019958
0.23904 | 0.0001656 | 0.00016788 | 5.1919e-12 | 0.23904 | 0.00020491 | 0.0001999 | 2.5144e-11 | 0.115 | 0.00016088 | 0.00019812
0.25946 | 0.00017017 | 0.00017124 | 1.1504e-12 | 0.25946 | 0.00020034 | 0.00020315 | 7.8805e-12 | 0.12 | 0.00016019 | 0.0001969
0.27988 | 0.00016743 | 0.00017487 | 5.5305e-11 | 0.27988 | 0.0002104 | 0.00020674 | 1.3362e-11 | 0.125 | 0.00015967 | 0.00019589
0.2991 | 0.00018023 | 0.00017846 | 3.121e-12 | 0.2991 | 0.00020766 | 0.00021038 | 7.4057e-12 | 0.13 | 0.00015928 | 0.00019506
[8 empty] | 0.135 | 0.00015901 | 0.0001944
|  | SSQ | 2.4369e-10 |  |  | SSQ | 2.508e-10 | 0.14 | 0.00015885 | 0.00019388
[8 empty] | 0.145 | 0.00015878 | 0.00019349
[8 empty] | 0.15 | 0.00015881 | 0.00019322
[8 empty] | 0.155 | 0.00015891 | 0.00019305
[8 empty] | 0.16 | 0.00015909 | 0.00019298
[8 empty] | 0.165 | 0.00015933 | 0.000193
[8 empty] | 0.17 | 0.00015964 | 0.0001931
[8 empty] | 0.175 | 0.00015999 | 0.00019327
[8 empty] | 0.18 | 0.0001604 | 0.00019351
[8 empty] | 0.185 | 0.00016085 | 0.00019381
[8 empty] | 0.19 | 0.00016134 | 0.00019416
[8 empty] | 0.195 | 0.00016188 | 0.00019457
[8 empty] | 0.2 | 0.00016245 | 0.00019502
[8 empty] | 0.205 | 0.00016305 | 0.00019552
[8 empty] | 0.21 | 0.00016368 | 0.00019607
[8 empty] | 0.215 | 0.00016435 | 0.00019665
[8 empty] | 0.22 | 0.00016504 | 0.00019726
[8 empty] | 0.225 | 0.00016575 | 0.00019791
[8 empty] | 0.23 | 0.00016649 | 0.00019859
[8 empty] | 0.235 | 0.00016725 | 0.00019931
[8 empty] | 0.24 | 0.00016803 | 0.00020004
[8 empty] | 0.245 | 0.00016883 | 0.00020081
[8 empty] | 0.25 | 0.00016965 | 0.0002016
[8 empty] | 0.255 | 0.00017048 | 0.00020241
[8 empty] | 0.26 | 0.00017134 | 0.00020324
[8 empty] | 0.265 | 0.0001722 | 0.00020409
[8 empty] | 0.27 | 0.00017308 | 0.00020497
[8 empty] | 0.275 | 0.00017398 | 0.00020586
[8 empty] | 0.28 | 0.00017489 | 0.00020677
[8 empty] | 0.285 | 0.00017581 | 0.00020769
[8 empty] | 0.29 | 0.00017674 | 0.00020863
[8 empty] | 0.295 | 0.00017768 | 0.00020959
[8 empty] | 0.3 | 0.00017863 | 0.00021055
[8 empty] | 0.305 | 0.0001796 | 0.00021154
[8 empty] | 0.31 | 0.00018057 | 0.00021253
[8 empty] | 0.315 | 0.00018155 | 0.00021354
[8 empty] | 0.32 | 0.00018254 | 0.00021455
[8 empty] | 0.325 | 0.00018354 | 0.00021558
[8 empty] | 0.33 | 0.00018455 | 0.00021662
[8 empty] | 0.335 | 0.00018556 | 0.00021767
Catéchol
Hydroquinone

## Exercise 7_6
Asymmetry factor
Both peaks present a pronounced tailing
Based on the peak width at 10% of its height we find:
Peak 1: |  | a | 0.46 | min
|  | b | 1.22 | min
|  | Fa = | 2.6522
Peak 2: |  | a | 0.71 | min
|  | b | 2.14 | min
|  | Fa = | 3.0141
Resolution
Due to the strong tailing observed for both peaks, the peak width at the base is quite difficult to determine precisely.
The values below represent a reasonable approximation
tR,1 | 10 | min | Wb,1 | 2.6 | min
tR,2 | 14.7 | min | Wb,2 | 4 | min
Resolution |  | R = | 1.4242