Urban Hydraulic Systems - Repetition questions

- What are the main objectives of urban hydraulic systems?

- Which freshwater volume is consumed per person and day in Switzerland? Which activities consume the most water? Where does the water come from?

- The annual income from taxes (confederation/cantons/villages) amounts to around 125’000 Mio. CHF. How long would it take to refinance the replacement cost of the two urban hydraulic systems?

- Why are sewers often “patchwork”-like systems?

- Why is a legal frame necessary related to urban hydraulic systems?

- What are some key aspects mentioned in the law/act?

- Explain some advantages of a separate sewer system?

- How is polluted and non-polluted water handled?

- How can a “natural” hydrograph be (re-)established in an urban watercourse?

- Mention the main advantages and disadvantages of the rational method.

- What is the most accurate approach to derive the design discharge for an urban hydraulic system?

- Why gives the “runtime method” the relevant rain period T to consider, if applying the rational method?

- How do you derive (1) the volume of fresh water for which the supply plant is designed (filters, pumps), and (2) the maximum instantaneous discharge leaving the reservoir?

- When (day, time) do you expect the maximum instantaneous freshwater consumption?

- How do you derive the sewer dry weather discharge?

- Discuss the accuracy of the VSA concept to estimate the dry weather discharge

- Why is it favorable if each water chamber is connected to the reservoir with an separate conduit?

- Why is the production of fresh water via lake capture expensive?

- How can a reservoir provide the maximum daily volume although its volume usually corresponds “only” to the daily average consumption?

- What is the maximum storage time (age) of fresh water, and by which constructional elements is the latter guaranteed?

- How is the fire reserve (theoretically) released into the net?

- Who controls the quality of fresh water?

- Why is the minimum discharge Qm considered for the sewer conduit design?

- Which are the basic hypotheses made in the GMS equation “version conduit”?

- Give the order and the origin of the following discharges: QV, Qm, QM

- Explain the relevance of the Froude number in sewer hydraulics.

- What is choking?

- Which role does air in sewers play?

- What phenomenon appears along a “steep” sewer?

- How can the manhole affect the conduit flow?

- Why is guided flow necessary in manholes?

- What is a standard / special manhole?

- Which bench height (within manhole) is adequate, and why?

- Which configuration of the expansion manhole is favorable?

- What are the design criteria for an inspection manhole with supercritical flow?

- How do you choose the bend radius of a related manhole and why?

- For steep topographies: what is an alternative to a fall manhole?

- Why does a drop manhole (often) include two separate chambers?

- Where is the flow energy (mainly) dissipated in a vortex drop shaft, and why?

- Which are the conditions to respect at a vortex drop shaft inflow structure?

- How is adequate airflow guaranteed in a vortex drop shaft?

- Mention measures against abrasion at the dissipation chamber.

- Explain the air cycle in a vortex drop shaft.

- Which limiting phenomena occurs in junction manholes with supercritical flow?

- What are advantages/disadvantages of the “Hager/Gisonni” junctions?

- When are separation manholes foreseen?

- Which types of separation manholes exist?

- Which geometry is recommended by VSA for a side weir?

Prof. Dr. Michael Pfister, michael.pfister@hefr.ch