## Slide 1: DFT-based synchrophasor estimation
 | 2. Long range leakage
3. Short range leakage | 4. Harmonic interference
Main sources of errors
1. Aliasing | 

## Slide 2: DFT-based synchrophasor estimation
Introduction of adequate anti-aliasing filters Increasing of the sampling frequency | 
Interpolated DFT methods | 
 | Use of appropriate windowing functions
 | Iterative compensation of the self-interaction
Possible corrections
1. Aliasing | 2. Long range leakage
3. Short range leakage | 4. Harmonic interference

## Slide 3: Joint P+M class synchrophasor estimation
Neg image
Pos image
DFT bins
= 1.5 cos, = 2 hann
The IpDFT is a technique to extract the parameters , and of a sinusoidal waveform by interpolating the highest DFT bins of the signal spectrum. It mitigates the effects of incoherent sampling ():
Interpolating the highest DFT bins  minimize spectral sampling
IpDFT problem solution for window functions [1]

## Slide 4: Joint P+M class synchrophasor estimation
IpDFT
IpDFT
Negative image
estimation
Negative image
compensation
Estimated
Synchrophasor
yes
no
DTFT
DFT bins
Fund neg im
Fund pos im
Enhanced-IpDFT algorithm [1]

## Slide 5: Joint P+M class synchrophasor estimation
Iterative-IpDFT algorithm [2]
e-IpDFT
&
Main tone
estimation & compensation
Estimated
Synchrophasor
yes
no
Interharmonic tone
estimation & compensation
e-IpDFT
e-IpDFT
Fund tone
DFT bins
Int pos im
Int tone
DTFT
Int neg im
Fund neg im
Fund pos im

## Slide 6: Joint P+M class synchrophasor estimation
Iterative-IpDFT algorithm performance and P+M compliance [2]
Static conditions

## Slide 7: References
P. Romano and M. Paolone, “Enhanced interpolated-DFT for synchrophasor estimation in FPGAs: Theory, implementation, and validation of a PMU prototype,” IEEE Transactions on Instrumentation and Measurement, vol. 63, no. 12, pp. 2824–2836, Dec 2014.
A. Derviškadić, P. Romano and M. Paolone, “Iterative-Interpolated DFT for Synchrophasor Estimation: a Single Algorithm for P and M-class compliant PMUs”, IEEE Trans. on Instrumentation and Measurements, vol. 67, no. 3, pp. 547 - 558, March 2018.