## Slide 1
Geometrical Mean Distance/Radius
In this section we shall present an approach which can be applied to conductors with dimensions of the same order of magnitude as the distances between them, using the concept of the geometrical mean distance (GMD) and the geometrical mean radius (GMR), introduced by Maxwell*.
* Maxwell, J. C., A Treatise on Electricity and Magnetism, 3rd ed., Oxford University Press, London, 1959.

## Slide 2
Mutual Inductance between Two Circuits
Transverse cross-section of a four-conductor system for two circuits..
Current
Current
Conductor 1
Conductor 2
Conductor 3
Conductor 4
Area
Area
Area
Area

## Slide 3
Mutual Inductance between Two Circuits
The current Ia flows through circuit a formed by conductors 1 and 2 and the current Ib through circuit b formed by conductors 3 and 4.
These currents are assumed to vary slowly enough with the time so that the skin effect and other proximity effects are negligible.

## Slide 4
Each filament of the circuit a couples its magnetic field to each element of the circuit b. Thus, for a filament area of dS1 of conductor 1, a current IadS1/S1 flows, and in an element dS2 of conductor 2, the current is - IadS2/S2.
In an elementary current filament of cross-section dS within the conductor, a current dI = J·dS flows. J is the current density in the conductor, which is assumed to be constant over the cross-section S, and is given by J = I / S.
Mutual Inductance between Two Circuits

## Slide 5
The partial flux in a length Dx linking the filaments k and l of circuit b due to the current (Ia·dS1/S1) in the element i of conductor 1 is equal to
while the contribution of the current element j of conductor 2 to the elementary flux between k and l is
Mutual Inductance between Two Circuits

## Slide 6
In order to calculate the total flux between the elementary filaments k and l due to the complete circuit a, it is necessary to integrate over the cross sections S1 and S2 in circuit a containing the current.
Mutual Inductance between Two Circuits

## Slide 7
The total coupled flux Fb,a in circuit b arising from all of the current in circuit a is the algebraic mean (or average) and is given by the integral of the equation over the cross-sectional areas S3 and S4 as
Mutual Inductance between Two Circuits

## Slide 8
The per-unit-length mutual inductance between circuits a and b due to the current Ia is then given as
Mutual Inductance between Two Circuits

## Slide 9
Geometrical Mean Distance (GMD)
Starting from the analytical expressions of the flux linking two coupled circuits given in the last equation, it is possible to express the mutual inductances of the circuits in terms of the geometrical mean distance of the circuits.
The geometrical mean distance (GMD) of the cross-section Si to the cross-section Sj, is denoted by gij and is defined as

## Slide 10
Geometrical Mean Distance (GMD)
Using the geometrical mean distance as defined earlier, the analytical expression of the mutual inductance between two circuits a and b becomes

## Slide 11
GMD for usual configurations

## Slide 12
GMD: Example
If da and db << D, the GMDs have the following values:

## Slide 13
GMD: Example
If the circuits are identical, da = db = d, we have

## Slide 14
Geometric Mean Radius (GMR)
In order to determine the self-inductance of a circuit, we need to define the Geometric Mean Radius (GMR) of a conductor i, which is defined as the geometrical mean distance of a surface Si to itself:

## Slide 15
Self-Inductance: Geometric Mean Radius (GMR)
The self inductance is defined as the flux linking a circuit due to the current flowing in the circuit divided by the same current. Therefore, the expression of the self inductance can be found by superposing the circuits a and b
Conductors 1 & 3
Conductors 2 & 4
Current I
Current -I
Area
Area

## Slide 16
Self-Inductance: Geometric Mean Radius (GMR)
Conductors 1 & 3
Conductors 2 & 4
Current I
Current -I
Area
Area

## Slide 17
Self-Inductance: Geometric Mean Radius (GMR)
Conductors 1 & 3
Conductors 2 & 4
Current I
Current -I
Area
Area
or more generally, the per unit length self inductance of a loop comprised of conductors i and a neutral (return) conductor n is

## Slide 18
GMR: Example
Two circuits with a common ground return conductor

## Slide 19
GMR for usual configurations

## Slide 20
Mutual and Self Inductances of Lines with the Earth as a Return Conductor

## Slide 21
Mutual Inductances of Lines with the Earth as a Return Conductor
where gik* = gki* = d* and gki = gk*i* = d, respectively.
Note that the leading factor of (1/2) arises from the fact that we wish to consider only the component of mutual inductance arising only from the flux above the ground plane.
The final expression for the mutual inductance is

## Slide 22
Self Inductances of Lines with the Earth as a Return Conductor
where gii* = 2hi and gii = gi*i* .
The final expression for the self inductance is