## Slide 1
Computational Optical Imaging
Lecture 7
Superresolution

## Slide 2: Outline
Diffraction limited resolution delta x and delta z
Localization versus resolution
Solid and oil immersion (BPM simulation of subwavelength features in high index material)
SIM (including confocal?)
STED
Neural network based superresolution
Exercise 1 Low resoluton images to sharp (Ilker)
NSOM
Ulas on converting evanescent to propagating
Exercise 2 Exercise on parallel NSOM (Ulas)

## Slide 3
Reminder: Resolution in x and z
Δx=λ0/2NA Δz= λ0/NA2

## Slide 4
Resolution

## Slide 5: Oil immersion microscope
Δx=λ/2NA NA=n sinθ
kx = 2π cosθx/λ= 2πn cosθx/λ0= 2π u
cosθχ =λ0 u/n
t(x)=1/2(1+cos(2πux))
θx

## Slide 6: SIM Structured Illumination Microscopy
F
F
F
F
f(x)
Laser
illumination
Resolution Δx =
Max Spatial Frequency (Bandwidth) = B/2λF

## Slide 7
SIM Structured Illumination Microscopy
Resolution =
F
F
F
F
f(x)
Laser
illumination
Max Spatial Frequency (Bandwidth) = B/λF
Resolution =

## Slide 8
z
Out of focus light can deteriorate the performance of the imaging system
We only need to probe at a very small region to capture the light by a point source at the focal plane
Point Spread Function

## Slide 9
F1
F2
Scanning
the sample in XYZ
x
z
y
Confocal

## Slide 10
F1
F2
x
z
y
Confocal

## Slide 11
Out of plane image rays get blocked by the pinhole
Widefield
Confocal
http://www.olympusfluoview.com/theory/confocalintro.html
3-d scanning
fluorescently stained human medulla
whole rabbit muscle fibers stained with fluorescein
Autofluorescence in a sunflower pollen grain
Confocal Microscope

## Slide 12
Confocal Microscope

## Slide 13
Confocal Microscope

## Slide 14: STED superresolution microscopy

## Slide 15
Propagation profile
Output
Input
Amplitude
Phase
λ = 800nm
Donut beam with plane phase

## Slide 16
100μm
20mm
Propagation profile
Output
Input
Amplitude
Phase
λ = 800nm
Vortex

## Slide 17
100μm
20mm
λ = 800nm
Propagation profile
Output
Input
Amplitude
Phase
Converging vortex, cannot fill the center
D. Psaltis, Optical Waves Propagation – EPFL, Fall semester 2013

## Slide 19: In-painting Face Images
U-Net
-3x3 Convolutions with ReLU
-3 down and 3 upsampling layers
-900K parameters
Dataset
-2400 training and 600 test images, 64x64 px
-Inputs have 3 randomly placed 12x12 cropped areas
SSIM: 0.80
SSIM: 0.94
Input
Ground Truth
Output

## Slide 20
87.17%
84.83%
75.17%
Classifying In-Painted Face Images
Input
Classification
Conv
Conv
64x64x32
FC
FC
64x64x64
128
8.4M params
Cropped
Intact
Filled-in
Training
2400 intact train images
Tests
600 intact, cropped and filled-in test images
Test Acc.

## Slide 21: Exercise 1
U-Net to recover resolution from data; Ilker

## Slide 22: NSOM Near-field Scanning Optical Microscope
A=3 µm
λ= 500nm

## Slide 23: NSOM Near-field Scanning Optical Microscope

## Slide 24: NSOM

## Slide 25
NSOM

## Slide 26
NSOM
How about evanescent waves?
Detector
Subwavelength
features
Evanescent
waves
Propagating
waves
Subwavelength
aperture

## Slide 27: Conversion of evanescent waves to propagating modes
Ulas slides

## Slide 28
Diffraction-limited imaging

## Slide 29
Evanescent waves

## Slide 30
Evanescent waves
DFR = np.exp(-1j * K2 * 0.5 * dz * scale_ratio / (k + np.emath.sqrt(k**2 - K2)))

## Slide 31
How to image them?

## Slide 32
A hybrid method proposal

## Slide 33
Proof of concept

## Slide 34: Exercise 2
multiple scattering; Ulas