Semester exercise 2024/2025 -Vignette- Groups AL

A digital bridge to restore hand and arm functions after paralysis

Problem: Every year, approximately 500,000 people suffer a spinal cord injury (SCI), which imposes profound human, societal, and economic costs. The most severe SCIs, particularly those involving the cervical spine, can lead to complete paralysis of the hands, leaving patients unable to perform basic daily tasks for the rest of their lives, with little to no prospects for meaningful treatment or recovery.

Current approaches: The current standard of care emphasizes physical rehabilitation, but this offers limited benefits, especially for those with severe cervical SCI. Emerging approaches involving electrical stimulation aim to restore hand and arm functions. Several methods have shown promise in clinical translation, including:

- Epidural Electrical Stimulation (EES): Electrodes are placed on the spinal cord's epidural surface to stimulate motor functions1.

- Non-Invasive Electrical Stimulation: External stimulation devices are used to activate neural pathways without surgery2.

- Direct Peripheral Nerve Stimulation: Electrodes are applied directly to peripheral nerves to facilitate muscle activation3.

These interventions have demonstrated functional improvements in people with cervical SCI, yet they do not fully restore natural motor control.

Vision: The ultimate goal is to enable paralyzed patients to regain control of their arms and hands naturally, using the power of their thoughts, even in cases of severe or complete cervical SCI. Brain-Computer Interface (BCI) technologies offer a promising path to achieving this vision, and have been used to restore walking after paralysis4, 5. By detecting a patient's intention to move, BCIs can optimize the parameters for electrical stimulation, thereby enhancing both immediate functional recovery and the long-term process of neurological rehabilitation.

Some available BCI technologies, each with distinct advantages, limitations, and safety considerations are the following:

- Invasive BCIs: Electrodes are implanted directly into6 or onto7 the cerebral cortex, offering high-resolution signals.

- Partially Invasive BCIs: Electrodes are placed on the cortical surface (e.g., on the dura mater) to record electrocorticography (ECoG) signals5.

- Non-Invasive BCIs: Devices such as electroencephalography (EEG) are placed on the scalp, eliminating the need for surgery8.

- Endovascular BCIs: Electrodes are implanted through the bloodstream to reach an endovascular location near the cerebral cortex9.

Assignment: You are young PIs who decide to collaborate to develop a digital bridge that bypasses the damaged spinal cord and restores hand and arm function in patients with cervical SCI. You have do develop your ideas inspired by the following roadmap.

- Develop an Optimal BCI Approach: Identify and refine a BCI method best suited for detecting motor intentions for hand and arm movement restoration.

- Select and Design an Electrical Stimulation Method: Choose an electrical stimulation approach that complements the selected BCI technology to maximize functional recovery.

- Create a Motor Intention Analysis System: Design a system that accurately interprets motor intentions and dynamically adjusts electrical stimulation parameters in real-time.

- Integrate and Test the Closed-Loop System: Assemble the full system to operate in a closed-loop configuration and conduct a pilot test with a 24-year-old female patient who has a cervical spinal cord injury at level C5 (classified as ASIA-B severity).

References

Wagner FB, Mignardot J-B, Goff-Mignardot L, Camille G, Demesmaeker R, Komi S, et al. Targeted neurotechnology restores walking in humans with spinal cord injury. Nature. Nature Publishing Group; 2018;563(7729):65–71.

Smith AC, Kessler R, Thorpe B, Jones ML, Anderson K, et al. Non-invasive spinal cord electrical stimulation for arm and hand function in chronic tetraplegia: a safety and efficacy trial. Nature Medicine. Nature Publishing Group; 2023;590(7852):120–126.

Hunter PP and Knutson JS. Functional electrical stimulation for neuromuscular applications. Annu. Rev. Biomed. Eng. 2005. 7:327–60

Capogrosso M, Milekovic T, Borton D, Wagner F, Moraud EM, Mignardot J-B, et al. A brain-spine interface alleviating gait deficits after spinal cord injury in primates. Nature; 2016;539(7628):284–8.

Lorach H, Galvez J, Spieser A, Raguet H, Shahdoost S, D’Este E, et al. Walking naturally after spinal cord injury using a brain–spine interface. Nature. Nature Publishing Group; 2023;617:731–739

Musk E; Neuralink. An Integrated Brain-Machine Interface Platform With Thousands of Channels. Journal of Medical Internet Research. 201

Hettick M, Ho E, Poole AJ, Monge M, Papageorgiou D, Takahashi K, et al. The Layer 7 Cortical Interface: A Scalable and Minimally Invasive Brain–Computer Interface Platform. bioRxiv. Cold Spring Harbor Laboratory; 2022

Wolpaw JR, Birbaumer N, McFarland DJ, Pfurtscheller G, Vaughan TM. Brain–computer interfaces for communication and control. Clinical Neurophysiology. Elsevier; 2002;113(6):767–791

Mitchell P, Lee SCM, Yoo PE, et al. Assessment of safety of a fully implanted endovascular brain-computer interface for severe paralysis in 4 patients: The Stentrode with Thought-Controlled Digital Switch (SWITCH) study. JAMA Neurology. American Medical Association; 2023;80(7):722-730